## Pointing Repeatability
PF2Fxx(/M) Pointing Repeatability
|  | Relative Pitch, Top Slot (µrad) | Relative Yaw, Top Slot (µrad) | Relative Pitch, Side Slot (µrad) | Relative Yaw, Side Slot (µrad) | Relative Pitch, Diagonal Slot (µrad) | Relative Yaw, Diagonal Slot (µrad)
|  | 30.209 | 5.9683 | -30.751 | -76.6617 | -33.071 | 53.8183
|  | 17.629 | -10.1117 | -12.551 | -51.5717 | -29.451 | 57.4583
|  | 22.059 | 3.9583 | -13.561 | -64.2417 | -18.401 | 63.9383
|  | 29.499 | 12.8983 | -6.221 | -70.3717 | -16.721 | 41.8983
Product Raw Data |  | 27.799 | 33.1683 | -15.701 | -68.0217 | -14.091 | 67.1283
PF2Fxx(/M) Kinematic, Fixed Focus Collimators, FC/PC |  | 36.669 | 15.0683 | -7.421 | -81.2717 | -12.481 | 68.2483
|  | 43.699 | 15.2083 | -0.27095 | -71.2717 | -1.241 | 56.3283
Item # | PF2F53(/M) PF2F63(/M) PF2F78(/M) PF2F85(/M) | 27.319 | 22.0683 | -8.791 | -82.5617 | -22.251 | 64.6883
|  | 24.599 | 6.6483 | -16.371 | -88.2717 | -15.261 | 28.5683
|  | 24.999 | 11.1383 | -18.411 | -46.8817 | -31.891 | 64.0283
|  | 35.819 | 29.3383 | -6.701 | -58.8517 | -13.651 | 38.7083
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 28.419 | -6.0917 | -4.031 | -49.1517 | -13.191 | 19.7383
|  | 25.949 | 43.9483 | -17.901 | -77.7717 | -18.341 | 42.3983
|  | 29.079 | 43.5883 | 6.369 | -44.5317 | -11.391 | 37.6883
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
This plot shows the typical angular deviation of the collimated beam using the same fiber in the top, side, or diagonal FC/PC key orientations for any of our kinematic collimators.