## Transmission
UV Fused Quartz Cuvettes Transmission
|  | Wavelength (nm) | % Transmission
|  | 184 | 77.0101
|  | 186 | 72.7952
|  | 188 | 69.5836
|  | 190 | 70.2797
Product Raw Data |  | 192 | 70.0388
UV Fused Quartz Cuvettes Transmission |  | 194 | 70.346
|  | 196 | 70.8335
Item # | CV10Qxxxx | 198 | 71.8465
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 200 | 72.9896
|  | 202 | 75.1423
|  | 204 | 77.2177
|  | 206 | 78.4443
|  | 208 | 79.2222
|  | 210 | 79.507
|  | 212 | 79.8331
Additional Information: |  | 214 | 80.123
Transmission was measured at normal incidence through an empty cuvette. |  | 216 | 80.232
|  | 218 | 80.3905
|  | 220 | 80.437
|  | 222 | 80.5895
|  | 224 | 80.7143
|  | 226 | 81.0154
|  | 228 | 81.3836
|  | 230 | 81.7825
|  | 232 | 82.0814
|  | 234 | 82.4477
|  | 236 | 82.7076
|  | 238 | 82.9316
|  | 240 | 83.1216
|  | 242 | 83.2072
|  | 244 | 83.2471
|  | 246 | 83.4444
|  | 248 | 83.4634
|  | 250 | 83.513
|  | 252 | 83.6296
|  | 254 | 83.7031
|  | 256 | 83.7749
|  | 258 | 83.9166
|  | 260 | 83.9559
|  | 262 | 84.0182
|  | 264 | 84.085
|  | 266 | 84.1249
|  | 268 | 84.2917
|  | 270 | 84.3101
|  | 272 | 84.4211
|  | 274 | 84.5057
|  | 276 | 84.4937
|  | 278 | 84.618
|  | 280 | 84.7272
|  | 282 | 84.7827
|  | 284 | 84.7607
|  | 286 | 84.7899
|  | 288 | 84.8257
|  | 290 | 84.9054
|  | 292 | 84.9603
|  | 294 | 85.0303
|  | 296 | 85.1069
|  | 298 | 85.1852
|  | 300 | 85.1769
|  | 302 | 85.2491
|  | 304 | 85.3595
|  | 306 | 85.3286
|  | 308 | 85.3907
|  | 310 | 85.4126
|  | 312 | 85.3855
|  | 314 | 85.3876
|  | 316 | 85.3788
|  | 318 | 85.4133
|  | 320 | 85.3731
|  | 322 | 85.4165
|  | 324 | 85.4106
|  | 326 | 85.4478
|  | 328 | 85.5212
|  | 330 | 85.5338
|  | 332 | 85.5193
|  | 334 | 85.5546
|  | 336 | 85.603
|  | 338 | 85.6379
|  | 340 | 85.6891
|  | 342 | 85.7332
|  | 344 | 85.7112
|  | 346 | 85.7274
|  | 348 | 85.7396
|  | 350 | 85.7931
|  | 352 | 85.8474
|  | 354 | 85.8873
|  | 356 | 85.9062
|  | 358 | 85.9408
|  | 360 | 85.9579
|  | 362 | 85.9583
|  | 364 | 85.9997
|  | 366 | 86.0088
|  | 368 | 86.0248
|  | 370 | 86.0641
|  | 372 | 86.1054
|  | 374 | 86.1021
|  | 376 | 86.0937
|  | 378 | 86.1254
|  | 380 | 86.1546
|  | 382 | 86.2285
|  | 384 | 86.197
|  | 386 | 86.145
|  | 388 | 86.1905
|  | 390 | 86.1926
|  | 392 | 86.2057
|  | 394 | 86.2184
|  | 396 | 86.262
|  | 398 | 86.3073
|  | 400 | 86.3105
|  | 402 | 86.3118
|  | 404 | 86.3042
|  | 406 | 86.3265
|  | 408 | 86.3458
|  | 410 | 86.3792
|  | 412 | 86.3895
|  | 414 | 86.4564
|  | 416 | 86.5287
|  | 418 | 86.5061
|  | 420 | 86.4774
|  | 422 | 86.4903
|  | 424 | 86.5256
|  | 426 | 86.5158
|  | 428 | 86.5417
|  | 430 | 86.5915
|  | 432 | 86.6045
|  | 434 | 86.586
|  | 436 | 86.6086
|  | 438 | 86.6286
|  | 440 | 86.6197
|  | 442 | 86.6111
|  | 444 | 86.5907
|  | 446 | 86.5995
|  | 448 | 86.6372
|  | 450 | 86.6522
|  | 452 | 86.6677
|  | 454 | 86.7041
|  | 456 | 86.7065
|  | 458 | 86.7362
|  | 460 | 86.7305
|  | 462 | 86.724
|  | 464 | 86.7108
|  | 466 | 86.675
|  | 468 | 86.7093
|  | 470 | 86.7417
|  | 472 | 86.7466
|  | 474 | 86.7922
|  | 476 | 86.8105
|  | 478 | 86.7856
|  | 480 | 86.7813
|  | 482 | 86.7756
|  | 484 | 86.8116
|  | 486 | 86.878
|  | 488 | 86.8935
|  | 490 | 86.8705
|  | 492 | 86.8917
|  | 494 | 86.9179
|  | 496 | 86.925
|  | 498 | 86.9341
|  | 500 | 86.9229
|  | 502 | 86.9016
|  | 504 | 86.8871
|  | 506 | 86.9285
|  | 508 | 86.9033
|  | 510 | 86.9038
|  | 512 | 86.9309
|  | 514 | 86.8983
|  | 516 | 86.9357
|  | 518 | 86.9518
|  | 520 | 86.9329
|  | 522 | 86.9569
|  | 524 | 86.953
|  | 526 | 86.9256
|  | 528 | 86.948
|  | 530 | 86.9836
|  | 532 | 86.9911
|  | 534 | 87.0103
|  | 536 | 87.0517
|  | 538 | 87.0644
|  | 540 | 87.0529
|  | 542 | 87.0858
|  | 544 | 87.0903
|  | 546 | 87.0877
|  | 548 | 87.0915
|  | 550 | 87.0649
|  | 552 | 87.0434
|  | 554 | 87.0618
|  | 556 | 87.0423
|  | 558 | 87.0735
|  | 560 | 87.1612
|  | 562 | 87.1983
|  | 564 | 87.1794
|  | 566 | 87.1954
|  | 568 | 87.1834
|  | 570 | 87.1712
|  | 572 | 87.2079
|  | 574 | 87.2055
|  | 576 | 87.223
|  | 578 | 87.1736
|  | 580 | 87.1967
|  | 582 | 87.2309
|  | 584 | 87.2277
|  | 586 | 87.2076
|  | 588 | 87.2397
|  | 590 | 87.2691
|  | 592 | 87.2215
|  | 594 | 87.2016
|  | 596 | 87.2303
|  | 598 | 87.2294
|  | 600 | 87.23
|  | 602 | 87.2369
|  | 604 | 87.1652
|  | 606 | 87.1855
|  | 608 | 87.2675
|  | 610 | 87.2767
|  | 612 | 87.2535
|  | 614 | 87.2617
|  | 616 | 87.2538
|  | 618 | 87.2994
|  | 620 | 87.3193
|  | 622 | 87.2926
|  | 624 | 87.3161
|  | 626 | 87.3106
|  | 628 | 87.2733
|  | 630 | 87.2736
|  | 632 | 87.2763
|  | 634 | 87.3644
|  | 636 | 87.3899
|  | 638 | 87.3732
|  | 640 | 87.4058
|  | 642 | 87.4193
|  | 644 | 87.3755
|  | 646 | 87.381
|  | 648 | 87.3723
|  | 650 | 87.3441
|  | 652 | 87.3678
|  | 654 | 87.3349
|  | 656 | 87.3229
|  | 658 | 87.3543
|  | 660 | 87.405
|  | 662 | 87.3454
|  | 664 | 87.3215
|  | 666 | 87.306
|  | 668 | 87.2927
|  | 670 | 87.4097
|  | 672 | 87.4153
|  | 674 | 87.4284
|  | 676 | 87.4213
|  | 678 | 87.3859
|  | 680 | 87.4007
|  | 682 | 87.3187
|  | 684 | 87.3975
|  | 686 | 87.4077
|  | 688 | 87.3678
|  | 690 | 87.3687
|  | 692 | 87.4169
|  | 694 | 87.3805
|  | 696 | 87.402
|  | 698 | 87.3923
|  | 700 | 87.3805
|  | 702 | 87.4231
|  | 704 | 87.3937
|  | 706 | 87.4089
|  | 708 | 87.4698
|  | 710 | 87.4652
|  | 712 | 87.4242
|  | 714 | 87.5029
|  | 716 | 87.5325
|  | 718 | 87.4372
|  | 720 | 87.4753
|  | 722 | 87.5091
|  | 724 | 87.4313
|  | 726 | 87.447
|  | 728 | 87.4872
|  | 730 | 87.5235
|  | 732 | 87.4589
|  | 734 | 87.4547
|  | 736 | 87.4991
|  | 738 | 87.4861
|  | 740 | 87.5176
|  | 742 | 87.5071
|  | 744 | 87.4541
|  | 746 | 87.494
|  | 748 | 87.5362
|  | 750 | 87.5205
|  | 752 | 87.4825
|  | 754 | 87.5323
|  | 756 | 87.4359
|  | 758 | 87.5368
|  | 760 | 87.6192
|  | 762 | 87.5864
|  | 764 | 87.5343
|  | 766 | 87.5667
|  | 768 | 87.4864
|  | 770 | 87.5355
|  | 772 | 87.4479
|  | 774 | 87.4853
|  | 776 | 87.6036
|  | 778 | 87.6014
|  | 780 | 87.6602
|  | 782 | 87.6102
|  | 784 | 87.5905
|  | 786 | 87.5732
|  | 788 | 87.567
|  | 790 | 87.6305
|  | 792 | 87.6258
|  | 794 | 87.5092
|  | 796 | 87.585
|  | 798 | 87.619
|  | 800 | 87.5982
|  | 802 | 87.5702
|  | 804 | 87.6099
|  | 806 | 87.5818
|  | 808 | 87.6457
|  | 810 | 87.6513
|  | 812 | 87.6392
|  | 814 | 87.5741
|  | 816 | 87.5863
|  | 818 | 87.6387
|  | 820 | 87.6664
|  | 822 | 87.6626
|  | 824 | 87.6775
|  | 826 | 87.6658
|  | 828 | 87.6975
|  | 830 | 87.6888
|  | 832 | 87.6743
|  | 834 | 87.7358
|  | 836 | 87.6661
|  | 838 | 87.7196
|  | 840 | 87.7073
|  | 842 | 87.7001
|  | 844 | 87.7919
|  | 846 | 87.6184
|  | 848 | 87.7263
|  | 850 | 87.6974
|  | 852 | 87.8646
|  | 854 | 87.6827
|  | 856 | 87.5963
|  | 858 | 87.7192
|  | 860 | 87.909
|  | 862 | 87.2063
|  | 864 | 87.1715
|  | 866 | 87.1489
|  | 868 | 87.2654
|  | 870 | 87.3243
|  | 872 | 87.2713
|  | 874 | 87.4473
|  | 876 | 87.3264
|  | 878 | 87.282
|  | 880 | 87.416
|  | 882 | 87.3448
|  | 884 | 87.1707
|  | 886 | 87.1343
|  | 888 | 87.2749
|  | 890 | 87.2594
|  | 892 | 87.2064
|  | 894 | 87.214
|  | 896 | 87.2138
|  | 898 | 87.252
|  | 900 | 87.1874
|  | 902 | 87.2426
|  | 904 | 87.2501
|  | 906 | 87.1289
|  | 908 | 87.0486
|  | 910 | 87.1426
|  | 912 | 87.129
|  | 914 | 87.0164
|  | 916 | 87.1261
|  | 918 | 87.2166
|  | 920 | 87.1951
|  | 922 | 87.2257
|  | 924 | 87.2554
|  | 926 | 87.2029
|  | 928 | 87.0994
|  | 930 | 87.2082
|  | 932 | 87.2431
|  | 934 | 87.2038
|  | 936 | 87.1455
|  | 938 | 87.1178
|  | 940 | 87.1565
|  | 942 | 87.1875
|  | 944 | 87.2478
|  | 946 | 87.2195
|  | 948 | 87.2097
|  | 950 | 87.2458
|  | 952 | 87.2711
|  | 954 | 87.3085
|  | 956 | 87.2694
|  | 958 | 87.2678
|  | 960 | 87.2804
|  | 962 | 87.2454
|  | 964 | 87.2036
|  | 966 | 87.2034
|  | 968 | 87.2209
|  | 970 | 87.232
|  | 972 | 87.2911
|  | 974 | 87.2959
|  | 976 | 87.3078
|  | 978 | 87.3165
|  | 980 | 87.3165
|  | 982 | 87.304
|  | 984 | 87.2633
|  | 986 | 87.2935
|  | 988 | 87.2931
|  | 990 | 87.2258
|  | 992 | 87.2289
|  | 994 | 87.2674
|  | 996 | 87.2844
|  | 998 | 87.3073
|  | 1000 | 87.3216
|  | 1002 | 87.3059
|  | 1004 | 87.2565
|  | 1006 | 87.2823
|  | 1008 | 87.3324
|  | 1010 | 87.2916
|  | 1012 | 87.263
|  | 1014 | 87.309
|  | 1016 | 87.3476
|  | 1018 | 87.3262
|  | 1020 | 87.337
|  | 1022 | 87.3677
|  | 1024 | 87.4034
|  | 1026 | 87.3873
|  | 1028 | 87.348
|  | 1030 | 87.3675
|  | 1032 | 87.335
|  | 1034 | 87.317
|  | 1036 | 87.3313
|  | 1038 | 87.3369
|  | 1040 | 87.3339
|  | 1042 | 87.3476
|  | 1044 | 87.3932
|  | 1046 | 87.3975
|  | 1048 | 87.4103
|  | 1050 | 87.4077
|  | 1052 | 87.3736
|  | 1054 | 87.3662
|  | 1056 | 87.4009
|  | 1058 | 87.4281
|  | 1060 | 87.4233
|  | 1062 | 87.4225
|  | 1064 | 87.4313
|  | 1066 | 87.4687
|  | 1068 | 87.5129
|  | 1070 | 87.4922
|  | 1072 | 87.4497
|  | 1074 | 87.4647
|  | 1076 | 87.5058
|  | 1078 | 87.4682
|  | 1080 | 87.4311
|  | 1082 | 87.4443
|  | 1084 | 87.3885
|  | 1086 | 87.3306
|  | 1088 | 87.3794
|  | 1090 | 87.4116
|  | 1092 | 87.3822
|  | 1094 | 87.3697
|  | 1096 | 87.3671
|  | 1098 | 87.3342
|  | 1100 | 87.3216
|  | 1102 | 87.3344
|  | 1104 | 87.363
|  | 1106 | 87.406
|  | 1108 | 87.4163
|  | 1110 | 87.4393
|  | 1112 | 87.4099
|  | 1114 | 87.4031
|  | 1116 | 87.4278
|  | 1118 | 87.409
|  | 1120 | 87.4168
|  | 1122 | 87.429
|  | 1124 | 87.4814
|  | 1126 | 87.4707
|  | 1128 | 87.4407
|  | 1130 | 87.4307
|  | 1132 | 87.4453
|  | 1134 | 87.4267
|  | 1136 | 87.4041
|  | 1138 | 87.3907
|  | 1140 | 87.3961
|  | 1142 | 87.3947
|  | 1144 | 87.4424
|  | 1146 | 87.4867
|  | 1148 | 87.4707
|  | 1150 | 87.461
|  | 1152 | 87.485
|  | 1154 | 87.4878
|  | 1156 | 87.4968
|  | 1158 | 87.5087
|  | 1160 | 87.5331
|  | 1162 | 87.5191
|  | 1164 | 87.5037
|  | 1166 | 87.4802
|  | 1168 | 87.4227
|  | 1170 | 87.4469
|  | 1172 | 87.4272
|  | 1174 | 87.3943
|  | 1176 | 87.411
|  | 1178 | 87.4335
|  | 1180 | 87.4586
|  | 1182 | 87.4841
|  | 1184 | 87.5173
|  | 1186 | 87.5135
|  | 1188 | 87.4523
|  | 1190 | 87.4592
|  | 1192 | 87.4632
|  | 1194 | 87.4359
|  | 1196 | 87.4403
|  | 1198 | 87.4483
|  | 1200 | 87.4396
|  | 1202 | 87.4517
|  | 1204 | 87.5082
|  | 1206 | 87.5201
|  | 1208 | 87.4523
|  | 1210 | 87.4662
|  | 1212 | 87.4891
|  | 1214 | 87.4841
|  | 1216 | 87.483
|  | 1218 | 87.4839
|  | 1220 | 87.5232
|  | 1222 | 87.5921
|  | 1224 | 87.5565
|  | 1226 | 87.5306
|  | 1228 | 87.5274
|  | 1230 | 87.5448
|  | 1232 | 87.5124
|  | 1234 | 87.5241
|  | 1236 | 87.5482
|  | 1238 | 87.5046
|  | 1240 | 87.4723
|  | 1242 | 87.4883
|  | 1244 | 87.4983
|  | 1246 | 87.4946
|  | 1248 | 87.5182
|  | 1250 | 87.5485
|  | 1252 | 87.5692
|  | 1254 | 87.5637
|  | 1256 | 87.532
|  | 1258 | 87.5515
|  | 1260 | 87.5451
|  | 1262 | 87.5288
|  | 1264 | 87.5123
|  | 1266 | 87.5137
|  | 1268 | 87.5088
|  | 1270 | 87.5522
|  | 1272 | 87.5773
|  | 1274 | 87.5769
|  | 1276 | 87.5835
|  | 1278 | 87.6022
|  | 1280 | 87.6411
|  | 1282 | 87.5885
|  | 1284 | 87.5718
|  | 1286 | 87.5865
|  | 1288 | 87.5428
|  | 1290 | 87.5398
|  | 1292 | 87.569
|  | 1294 | 87.5522
|  | 1296 | 87.5677
|  | 1298 | 87.5922
|  | 1300 | 87.5653
|  | 1302 | 87.5676
|  | 1304 | 87.5492
|  | 1306 | 87.5522
|  | 1308 | 87.5235
|  | 1310 | 87.5329
|  | 1312 | 87.5623
|  | 1314 | 87.6302
|  | 1316 | 87.6173
|  | 1318 | 87.5966
|  | 1320 | 87.5765
|  | 1322 | 87.5452
|  | 1324 | 87.5689
|  | 1326 | 87.6093
|  | 1328 | 87.5783
|  | 1330 | 87.5894
|  | 1332 | 87.6159
|  | 1334 | 87.6287
|  | 1336 | 87.6044
|  | 1338 | 87.5705
|  | 1340 | 87.581
|  | 1342 | 87.5776
|  | 1344 | 87.5888
|  | 1346 | 87.5901
|  | 1348 | 87.548
|  | 1350 | 87.5501
|  | 1352 | 87.5281
|  | 1354 | 87.5585
|  | 1356 | 87.5746
|  | 1358 | 87.6272
|  | 1360 | 87.6109
|  | 1362 | 87.5854
|  | 1364 | 87.5805
|  | 1366 | 87.5209
|  | 1368 | 87.5425
|  | 1370 | 87.5563
|  | 1372 | 87.5128
|  | 1374 | 87.4983
|  | 1376 | 87.4607
|  | 1378 | 87.4736
|  | 1380 | 87.445
|  | 1382 | 87.4483
|  | 1384 | 87.4989
|  | 1386 | 87.4573
|  | 1388 | 87.4648
|  | 1390 | 87.4661
|  | 1392 | 87.4619
|  | 1394 | 87.4715
|  | 1396 | 87.5031
|  | 1398 | 87.5146
|  | 1400 | 87.5485
|  | 1402 | 87.5152
|  | 1404 | 87.5477
|  | 1406 | 87.5443
|  | 1408 | 87.5678
|  | 1410 | 87.5716
|  | 1412 | 87.587
|  | 1414 | 87.5915
|  | 1416 | 87.5779
|  | 1418 | 87.567
|  | 1420 | 87.5921
|  | 1422 | 87.6457
|  | 1424 | 87.6709
|  | 1426 | 87.6192
|  | 1428 | 87.6207
|  | 1430 | 87.6421
|  | 1432 | 87.6423
|  | 1434 | 87.6293
|  | 1436 | 87.647
|  | 1438 | 87.6276
|  | 1440 | 87.6348
|  | 1442 | 87.6335
|  | 1444 | 87.6716
|  | 1446 | 87.6854
|  | 1448 | 87.7358
|  | 1450 | 87.7347
|  | 1452 | 87.6795
|  | 1454 | 87.6864
|  | 1456 | 87.7078
|  | 1458 | 87.6483
|  | 1460 | 87.6143
|  | 1462 | 87.6151
|  | 1464 | 87.6524
|  | 1466 | 87.6519
|  | 1468 | 87.6646
|  | 1470 | 87.6841
|  | 1472 | 87.6764
|  | 1474 | 87.6879
|  | 1476 | 87.6821
|  | 1478 | 87.6823
|  | 1480 | 87.6849
|  | 1482 | 87.6642
|  | 1484 | 87.6501
|  | 1486 | 87.6795
|  | 1488 | 87.678
|  | 1490 | 87.6766
|  | 1492 | 87.7165
|  | 1494 | 87.6661
|  | 1496 | 87.6782
|  | 1498 | 87.6747
|  | 1500 | 87.6591
|  | 1502 | 87.7215
|  | 1504 | 87.7176
|  | 1506 | 87.6869
|  | 1508 | 87.6983
|  | 1510 | 87.7336
|  | 1512 | 87.7491
|  | 1514 | 87.7395
|  | 1516 | 87.7338
|  | 1518 | 87.7601
|  | 1520 | 87.7953
|  | 1522 | 87.7846
|  | 1524 | 87.6946
|  | 1526 | 87.6881
|  | 1528 | 87.7447
|  | 1530 | 87.7861
|  | 1532 | 87.748
|  | 1534 | 87.7472
|  | 1536 | 87.7983
|  | 1538 | 87.8124
|  | 1540 | 87.826
|  | 1542 | 87.7744
|  | 1544 | 87.7962
|  | 1546 | 87.7647
|  | 1548 | 87.8217
|  | 1550 | 87.7871
|  | 1552 | 87.8146
|  | 1554 | 87.8116
|  | 1556 | 87.7925
|  | 1558 | 87.836
|  | 1560 | 87.8567
|  | 1562 | 87.9088
|  | 1564 | 87.8794
|  | 1566 | 87.8239
|  | 1568 | 87.8132
|  | 1570 | 87.7744
|  | 1572 | 87.819
|  | 1574 | 87.7776
|  | 1576 | 87.7763
|  | 1578 | 87.8119
|  | 1580 | 87.7793
|  | 1582 | 87.7815
|  | 1584 | 87.7763
|  | 1586 | 87.8246
|  | 1588 | 87.8373
|  | 1590 | 87.8386
|  | 1592 | 87.8722
|  | 1594 | 87.8479
|  | 1596 | 87.8012
|  | 1598 | 87.8389
|  | 1600 | 87.8161
|  | 1602 | 87.7981
|  | 1604 | 87.7546
|  | 1606 | 87.8202
|  | 1608 | 87.7844
|  | 1610 | 87.7531
|  | 1612 | 87.788
|  | 1614 | 87.828
|  | 1616 | 87.8394
|  | 1618 | 87.7992
|  | 1620 | 87.777
|  | 1622 | 87.8331
|  | 1624 | 87.7988
|  | 1626 | 87.8568
|  | 1628 | 87.8459
|  | 1630 | 87.8263
|  | 1632 | 87.7999
|  | 1634 | 87.8299
|  | 1636 | 87.8604
|  | 1638 | 87.848
|  | 1640 | 87.8405
|  | 1642 | 87.806
|  | 1644 | 87.8112
|  | 1646 | 87.8062
|  | 1648 | 87.7869
|  | 1650 | 87.8356
|  | 1652 | 87.791
|  | 1654 | 87.7828
|  | 1656 | 87.798
|  | 1658 | 87.822
|  | 1660 | 87.8139
|  | 1662 | 87.8361
|  | 1664 | 87.7822
|  | 1666 | 87.848
|  | 1668 | 87.8891
|  | 1670 | 87.8708
|  | 1672 | 87.887
|  | 1674 | 87.8607
|  | 1676 | 87.806
|  | 1678 | 87.8221
|  | 1680 | 87.8486
|  | 1682 | 87.8285
|  | 1684 | 87.865
|  | 1686 | 87.8241
|  | 1688 | 87.8638
|  | 1690 | 87.8435
|  | 1692 | 87.8417
|  | 1694 | 87.8718
|  | 1696 | 87.8714
|  | 1698 | 87.8673
|  | 1700 | 87.8225
|  | 1702 | 87.8839
|  | 1704 | 87.7841
|  | 1706 | 87.8416
|  | 1708 | 87.8927
|  | 1710 | 87.892
|  | 1712 | 87.8306
|  | 1714 | 87.8115
|  | 1716 | 87.8765
|  | 1718 | 87.8336
|  | 1720 | 87.8328
|  | 1722 | 87.8836
|  | 1724 | 87.8616
|  | 1726 | 87.8725
|  | 1728 | 87.842
|  | 1730 | 87.914
|  | 1732 | 87.903
|  | 1734 | 87.8656
|  | 1736 | 87.8802
|  | 1738 | 87.8248
|  | 1740 | 87.8436
|  | 1742 | 87.804
|  | 1744 | 87.8435
|  | 1746 | 87.8386
|  | 1748 | 87.8618
|  | 1750 | 87.8918
|  | 1752 | 87.9076
|  | 1754 | 87.9646
|  | 1756 | 87.9229
|  | 1758 | 87.8485
|  | 1760 | 87.966
|  | 1762 | 87.8771
|  | 1764 | 88.0063
|  | 1766 | 87.9829
|  | 1768 | 87.9545
|  | 1770 | 87.9549
|  | 1772 | 87.9487
|  | 1774 | 87.8944
|  | 1776 | 87.8848
|  | 1778 | 87.8988
|  | 1780 | 87.8829
|  | 1782 | 87.8914
|  | 1784 | 87.9583
|  | 1786 | 87.8863
|  | 1788 | 87.8734
|  | 1790 | 87.8869
|  | 1792 | 87.9242
|  | 1794 | 87.9073
|  | 1796 | 87.893
|  | 1798 | 87.8761
|  | 1800 | 87.9052
|  | 1802 | 88.8618
|  | 1804 | 88.8395
|  | 1806 | 88.8905
|  | 1808 | 88.875
|  | 1810 | 88.8713
|  | 1812 | 88.9067
|  | 1814 | 88.8859
|  | 1816 | 88.8967
|  | 1818 | 88.9057
|  | 1820 | 88.7967
|  | 1822 | 88.7847
|  | 1824 | 88.8096
|  | 1826 | 88.833
|  | 1828 | 88.8168
|  | 1830 | 88.8643
|  | 1832 | 88.8538
|  | 1834 | 88.866
|  | 1836 | 88.8535
|  | 1838 | 88.8126
|  | 1840 | 88.7927
|  | 1842 | 88.8352
|  | 1844 | 88.8228
|  | 1846 | 88.7663
|  | 1848 | 88.7976
|  | 1850 | 88.8017
|  | 1852 | 88.8108
|  | 1854 | 88.7969
|  | 1856 | 88.7517
|  | 1858 | 88.7998
|  | 1860 | 88.8556
|  | 1862 | 88.8742
|  | 1864 | 88.8184
|  | 1866 | 88.7553
|  | 1868 | 88.5345
|  | 1870 | 88.5491
|  | 1872 | 88.7173
|  | 1874 | 88.793
|  | 1876 | 88.8122
|  | 1878 | 88.783
|  | 1880 | 88.8188
|  | 1882 | 88.926
|  | 1884 | 88.8363
|  | 1886 | 88.5801
|  | 1888 | 88.6819
|  | 1890 | 88.6078
|  | 1892 | 88.8509
|  | 1894 | 88.8683
|  | 1896 | 88.8138
|  | 1898 | 88.803
|  | 1900 | 88.7882
|  | 1902 | 88.7911
|  | 1904 | 88.8114
|  | 1906 | 88.7564
|  | 1908 | 88.7996
|  | 1910 | 88.7881
|  | 1912 | 88.7694
|  | 1914 | 88.801
|  | 1916 | 88.8388
|  | 1918 | 88.8153
|  | 1920 | 88.7822
|  | 1922 | 88.7357
|  | 1924 | 88.773
|  | 1926 | 88.8333
|  | 1928 | 88.791
|  | 1930 | 88.7419
|  | 1932 | 88.7579
|  | 1934 | 88.7721
|  | 1936 | 88.7503
|  | 1938 | 88.7357
|  | 1940 | 88.7478
|  | 1942 | 88.8153
|  | 1944 | 88.7832
|  | 1946 | 88.8133
|  | 1948 | 88.8389
|  | 1950 | 88.8747
|  | 1952 | 88.8515
|  | 1954 | 88.8825
|  | 1956 | 88.8283
|  | 1958 | 88.8297
|  | 1960 | 88.8365
|  | 1962 | 88.8109
|  | 1964 | 88.8422
|  | 1966 | 88.8572
|  | 1968 | 88.8491
|  | 1970 | 88.8534
|  | 1972 | 88.8685
|  | 1974 | 88.852
|  | 1976 | 88.8702
|  | 1978 | 88.8707
|  | 1980 | 88.8809
|  | 1982 | 88.8845
|  | 1984 | 88.9121
|  | 1986 | 88.8662
|  | 1988 | 88.8093
|  | 1990 | 88.8969
|  | 1992 | 88.9486
|  | 1994 | 88.9631
|  | 1996 | 88.9843
|  | 1998 | 88.8777
|  | 2000 | 88.9083
|  | 2002 | 88.8665
|  | 2004 | 88.88
|  | 2006 | 88.8189
|  | 2008 | 88.8251
|  | 2010 | 88.8433
|  | 2012 | 88.8504
|  | 2014 | 88.8732
|  | 2016 | 88.8685
|  | 2018 | 88.8727
|  | 2020 | 88.9046
|  | 2022 | 89.0255
|  | 2024 | 88.9308
|  | 2026 | 88.8914
|  | 2028 | 88.8043
|  | 2030 | 88.9306
|  | 2032 | 89.004
|  | 2034 | 88.8668
|  | 2036 | 88.8951
|  | 2038 | 88.8679
|  | 2040 | 88.8768
|  | 2042 | 88.9032
|  | 2044 | 88.8791
|  | 2046 | 88.8751
|  | 2048 | 88.9368
|  | 2050 | 88.9049
|  | 2052 | 88.8854
|  | 2054 | 88.8885
|  | 2056 | 88.923
|  | 2058 | 88.9568
|  | 2060 | 89.0322
|  | 2062 | 88.8564
|  | 2064 | 88.8603
|  | 2066 | 88.8571
|  | 2068 | 88.9059
|  | 2070 | 88.8646
|  | 2072 | 88.8227
|  | 2074 | 88.8315
|  | 2076 | 88.8165
|  | 2078 | 88.8178
|  | 2080 | 88.9085
|  | 2082 | 88.9164
|  | 2084 | 88.897
|  | 2086 | 88.9343
|  | 2088 | 88.8971
|  | 2090 | 88.8645
|  | 2092 | 88.8459
|  | 2094 | 88.8546
|  | 2096 | 88.8742
|  | 2098 | 88.835
|  | 2100 | 88.8327
|  | 2102 | 88.8413
|  | 2104 | 88.8636
|  | 2106 | 88.8232
|  | 2108 | 88.816
|  | 2110 | 88.8156
|  | 2112 | 88.8251
|  | 2114 | 88.7778
|  | 2116 | 88.7346
|  | 2118 | 88.7396
|  | 2120 | 88.7161
|  | 2122 | 88.7264
|  | 2124 | 88.7661
|  | 2126 | 88.7694
|  | 2128 | 88.7567
|  | 2130 | 88.7804
|  | 2132 | 88.7454
|  | 2134 | 88.7131
|  | 2136 | 88.7036
|  | 2138 | 88.7442
|  | 2140 | 88.7361
|  | 2142 | 88.7381
|  | 2144 | 88.65
|  | 2146 | 88.6486
|  | 2148 | 88.6296
|  | 2150 | 88.5401
|  | 2152 | 88.5849
|  | 2154 | 88.6151
|  | 2156 | 88.5769
|  | 2158 | 88.5893
|  | 2160 | 88.5571
|  | 2162 | 88.5111
|  | 2164 | 88.4918
|  | 2166 | 88.4686
|  | 2168 | 88.4562
|  | 2170 | 88.4446
|  | 2172 | 88.4374
|  | 2174 | 88.4727
|  | 2176 | 88.487
|  | 2178 | 88.4722
|  | 2180 | 88.4338
|  | 2182 | 88.4072
|  | 2184 | 88.4002
|  | 2186 | 88.3504
|  | 2188 | 88.3075
|  | 2190 | 88.2571
|  | 2192 | 88.1815
|  | 2194 | 88.1254
|  | 2196 | 88.0784
|  | 2198 | 88.0419
|  | 2200 | 87.9621
|  | 2202 | 87.8834
|  | 2204 | 87.867
|  | 2206 | 87.8232
|  | 2208 | 87.8003
|  | 2210 | 87.7622
|  | 2212 | 87.7454
|  | 2214 | 87.7086
|  | 2216 | 87.7339
|  | 2218 | 87.749
|  | 2220 | 87.807
|  | 2222 | 87.8618
|  | 2224 | 87.8637
|  | 2226 | 87.8532
|  | 2228 | 87.8527
|  | 2230 | 87.8506
|  | 2232 | 87.8572
|  | 2234 | 87.9222
|  | 2236 | 87.9475
|  | 2238 | 87.9709
|  | 2240 | 87.9426
|  | 2242 | 87.9446
|  | 2244 | 87.9476
|  | 2246 | 87.9558
|  | 2248 | 87.9599
|  | 2250 | 88.0019
|  | 2252 | 88.0274
|  | 2254 | 87.9959
|  | 2256 | 88.0006
|  | 2258 | 88.0335
|  | 2260 | 88.0688
|  | 2262 | 88.1029
|  | 2264 | 88.1253
|  | 2266 | 88.1529
|  | 2268 | 88.1543
|  | 2270 | 88.1398
|  | 2272 | 88.1555
|  | 2274 | 88.1803
|  | 2276 | 88.2506
|  | 2278 | 88.3016
|  | 2280 | 88.3444
|  | 2282 | 88.3563
|  | 2284 | 88.2987
|  | 2286 | 88.2431
|  | 2288 | 88.193
|  | 2290 | 88.2066
|  | 2292 | 88.2511
|  | 2294 | 88.3194
|  | 2296 | 88.3125
|  | 2298 | 88.2986
|  | 2300 | 88.301
|  | 2302 | 88.3105
|  | 2304 | 88.2864
|  | 2306 | 88.2405
|  | 2308 | 88.2359
|  | 2310 | 88.2908
|  | 2312 | 88.2934
|  | 2314 | 88.3071
|  | 2316 | 88.3207
|  | 2318 | 88.3122
|  | 2320 | 88.3037
|  | 2322 | 88.3061
|  | 2324 | 88.296
|  | 2326 | 88.294
|  | 2328 | 88.3139
|  | 2330 | 88.3106
|  | 2332 | 88.3274
|  | 2334 | 88.3588
|  | 2336 | 88.3499
|  | 2338 | 88.3604
|  | 2340 | 88.3559
|  | 2342 | 88.355
|  | 2344 | 88.3703
|  | 2346 | 88.3336
|  | 2348 | 88.3218
|  | 2350 | 88.369
|  | 2352 | 88.392
|  | 2354 | 88.3749
|  | 2356 | 88.3861
|  | 2358 | 88.386
|  | 2360 | 88.3861
|  | 2362 | 88.3762
|  | 2364 | 88.3556
|  | 2366 | 88.3124
|  | 2368 | 88.3353
|  | 2370 | 88.3773
|  | 2372 | 88.3627
|  | 2374 | 88.3854
|  | 2376 | 88.38
|  | 2378 | 88.3422
|  | 2380 | 88.3424
|  | 2382 | 88.3227
|  | 2384 | 88.3213
|  | 2386 | 88.296
|  | 2388 | 88.2919
|  | 2390 | 88.2658
|  | 2392 | 88.2897
|  | 2394 | 88.3399
|  | 2396 | 88.2976
|  | 2398 | 88.3108
|  | 2400 | 88.3532
|  | 2402 | 88.3345
|  | 2404 | 88.2982
|  | 2406 | 88.3059
|  | 2408 | 88.2844
|  | 2410 | 88.2772
|  | 2412 | 88.297
|  | 2414 | 88.3159
|  | 2416 | 88.3137
|  | 2418 | 88.2585
|  | 2420 | 88.2747
|  | 2422 | 88.2931
|  | 2424 | 88.2355
|  | 2426 | 88.2049
|  | 2428 | 88.2214
|  | 2430 | 88.268
|  | 2432 | 88.2453
|  | 2434 | 88.2571
|  | 2436 | 88.2884
|  | 2438 | 88.2751
|  | 2440 | 88.2473
|  | 2442 | 88.2105
|  | 2444 | 88.2182
|  | 2446 | 88.2258
|  | 2448 | 88.1995
|  | 2450 | 88.1971
|  | 2452 | 88.1881
|  | 2454 | 88.1727
|  | 2456 | 88.1903
|  | 2458 | 88.228
|  | 2460 | 88.2198
|  | 2462 | 88.1885
|  | 2464 | 88.1924
|  | 2466 | 88.1661
|  | 2468 | 88.1166
|  | 2470 | 88.113
|  | 2472 | 88.1168
|  | 2474 | 88.1078
|  | 2476 | 88.1051
|  | 2478 | 88.0996
|  | 2480 | 88.0693
|  | 2482 | 88.0398
|  | 2484 | 88.078
|  | 2486 | 88.0964
|  | 2488 | 88.0571
|  | 2490 | 88.0204
|  | 2492 | 87.9878
|  | 2494 | 88.0153
|  | 2496 | 88.0603
|  | 2498 | 88.05
|  | 2500 | 88.0334
|  | 2502 | 88.0278
|  | 2504 | 88.0486
|  | 2506 | 88.0238
|  | 2508 | 87.9752
|  | 2510 | 87.9759
|  | 2512 | 87.9761
|  | 2514 | 87.9375
|  | 2516 | 87.8851
|  | 2518 | 87.9309
|  | 2520 | 88.0124
|  | 2522 | 87.9671
|  | 2524 | 87.8533
|  | 2526 | 87.7871
|  | 2528 | 87.7748
|  | 2530 | 87.7966
|  | 2532 | 87.8185
|  | 2534 | 87.7822
|  | 2536 | 87.7749
|  | 2538 | 87.7611
|  | 2540 | 87.7498
|  | 2542 | 87.7263
|  | 2544 | 87.6367
|  | 2546 | 87.5956
|  | 2548 | 87.5795
|  | 2550 | 87.555
|  | 2552 | 87.5397
|  | 2554 | 87.5802
|  | 2556 | 87.5948
|  | 2558 | 87.5096
|  | 2560 | 87.4524
|  | 2562 | 87.4469
|  | 2564 | 87.4492
|  | 2566 | 87.3969
|  | 2568 | 87.379
|  | 2570 | 87.3679
|  | 2572 | 87.2965
|  | 2574 | 87.3072
|  | 2576 | 87.3298
|  | 2578 | 87.3408
|  | 2580 | 87.3706
|  | 2582 | 87.3386
|  | 2584 | 87.2905
|  | 2586 | 87.2536
|  | 2588 | 87.2402
|  | 2590 | 87.1944
|  | 2592 | 87.1071
|  | 2594 | 87.0821
|  | 2596 | 87.1351
|  | 2598 | 87.1463
|  | 2600 | 87.0847
|  | 2602 | 87.1136
|  | 2604 | 87.0855
|  | 2606 | 87.0583
|  | 2608 | 87.1275
|  | 2610 | 87.1147
|  | 2612 | 87.0385
|  | 2614 | 86.9212
|  | 2616 | 86.9041
|  | 2618 | 86.9675
|  | 2620 | 86.9199
|  | 2622 | 86.9425
|  | 2624 | 86.9297
|  | 2626 | 86.913
|  | 2628 | 86.8583
|  | 2630 | 86.8619
|  | 2632 | 86.896
|  | 2634 | 86.8303
|  | 2636 | 86.8004
|  | 2638 | 86.7822
|  | 2640 | 86.7494
|  | 2642 | 86.7317
|  | 2644 | 86.7412
|  | 2646 | 86.7159
|  | 2648 | 86.6358
|  | 2650 | 86.5938
|  | 2652 | 86.5649
|  | 2654 | 86.5029
|  | 2656 | 86.4308
|  | 2658 | 86.3512
|  | 2660 | 86.3337
|  | 2662 | 86.2181
|  | 2664 | 86.1399
|  | 2666 | 86.0431
|  | 2668 | 85.7621
|  | 2670 | 85.4597
|  | 2672 | 85.1323
|  | 2674 | 84.5458
|  | 2676 | 83.9633
|  | 2678 | 83.3801
|  | 2680 | 82.6276
|  | 2682 | 81.7704
|  | 2684 | 80.7738
|  | 2686 | 79.7152
|  | 2688 | 78.5568
|  | 2690 | 77.2681
|  | 2692 | 75.8344
|  | 2694 | 74.2888
|  | 2696 | 72.5854
|  | 2698 | 70.5283
|  | 2700 | 68.4043
|  | 2702 | 66.3943
|  | 2704 | 64.3631
|  | 2706 | 62.6442
|  | 2708 | 61.4112
|  | 2710 | 60.353
|  | 2712 | 59.1987
|  | 2714 | 58.4437
|  | 2716 | 57.4282
|  | 2718 | 57.4407
|  | 2720 | 56.5868
|  | 2722 | 56.3573
|  | 2724 | 56.9666
|  | 2726 | 56.503
|  | 2728 | 56.5346
|  | 2730 | 56.4611
|  | 2732 | 56.9247
|  | 2734 | 56.8944
|  | 2736 | 57.1563
|  | 2738 | 58.2108
|  | 2740 | 58.4936
|  | 2742 | 58.7883
|  | 2744 | 59.5332
|  | 2746 | 60.025
|  | 2748 | 60.3694
|  | 2750 | 60.4685
|  | 2752 | 61.432
|  | 2754 | 61.6999
|  | 2756 | 62.3828
|  | 2758 | 63.0453
|  | 2760 | 63.5027
|  | 2762 | 63.9487
|  | 2764 | 64.2769
|  | 2766 | 65.3879
|  | 2768 | 66.0501
|  | 2770 | 66.6518
|  | 2772 | 67.0619
|  | 2774 | 67.6593
|  | 2776 | 68.138
|  | 2778 | 68.5252
|  | 2780 | 69.0853
|  | 2782 | 69.687
|  | 2784 | 70.0418
|  | 2786 | 70.6334
|  | 2788 | 71.2875
|  | 2790 | 71.9793
|  | 2792 | 72.3002
|  | 2794 | 72.8496
|  | 2796 | 73.319
|  | 2798 | 73.7274
|  | 2800 | 74.2375
|  | 2802 | 74.7515
|  | 2804 | 75.1408
|  | 2806 | 75.7108
|  | 2808 | 76.2607
|  | 2810 | 76.8239
|  | 2812 | 77.1868
|  | 2814 | 77.6619
|  | 2816 | 78.0236
|  | 2818 | 78.4067
|  | 2820 | 78.7899
|  | 2822 | 79.1543
|  | 2824 | 79.4992
|  | 2826 | 79.8888
|  | 2828 | 80.1949
|  | 2830 | 80.5377
|  | 2832 | 80.7432
|  | 2834 | 81.0693
|  | 2836 | 81.3937
|  | 2838 | 81.7279
|  | 2840 | 81.9549
|  | 2842 | 82.135
|  | 2844 | 82.456
|  | 2846 | 82.5701
|  | 2848 | 82.6753
|  | 2850 | 82.9177
|  | 2852 | 83.1321
|  | 2854 | 83.3107
|  | 2856 | 83.3918
|  | 2858 | 83.4841
|  | 2860 | 83.5993
|  | 2862 | 83.7942
|  | 2864 | 83.9641
|  | 2866 | 83.9924
|  | 2868 | 84.1518
|  | 2870 | 84.1851
|  | 2872 | 84.3558
|  | 2874 | 84.3651
|  | 2876 | 84.4466
|  | 2878 | 84.5363
|  | 2880 | 84.5596
|  | 2882 | 84.6455
|  | 2884 | 84.6662
|  | 2886 | 84.7448
|  | 2888 | 84.8242
|  | 2890 | 84.8418
|  | 2892 | 84.8809
|  | 2894 | 84.9492
|  | 2896 | 84.9065
|  | 2898 | 84.959
|  | 2900 | 85.1407
|  | 2902 | 85.0171
|  | 2904 | 85.0974
|  | 2906 | 85.1691
|  | 2908 | 85.1673
|  | 2910 | 85.1953
|  | 2912 | 85.0722
|  | 2914 | 85.2639
|  | 2916 | 85.2087
|  | 2918 | 85.2384
|  | 2920 | 85.257
|  | 2922 | 85.2479
|  | 2924 | 85.2245
|  | 2926 | 85.2052
|  | 2928 | 85.2164
|  | 2930 | 85.2192
|  | 2932 | 85.137
|  | 2934 | 85.3117
|  | 2936 | 85.2242
|  | 2938 | 85.1895
|  | 2940 | 85.1677
|  | 2942 | 85.3414
|  | 2944 | 85.1538
|  | 2946 | 85.1212
|  | 2948 | 85.2654
|  | 2950 | 85.1427
|  | 2952 | 85.1504
|  | 2954 | 85.1021
|  | 2956 | 85.344
|  | 2958 | 85.1755
|  | 2960 | 85.2201
|  | 2962 | 85.2529
|  | 2964 | 85.2766
|  | 2966 | 85.3229
|  | 2968 | 85.0741
|  | 2970 | 85.1889
|  | 2972 | 85.1071
|  | 2974 | 84.9551
|  | 2976 | 85.2167
|  | 2978 | 85.1401
|  | 2980 | 85.2229
|  | 2982 | 85.1967
|  | 2984 | 85.3929
|  | 2986 | 85.2492
|  | 2988 | 85.1201
|  | 2990 | 85.2235
|  | 2992 | 85.3236
|  | 2994 | 85.3348
|  | 2996 | 85.0711
|  | 2998 | 85.3153
|  | 3000 | 85.3304
|  | 3002 | 85.173
|  | 3004 | 85.4492
|  | 3006 | 85.5145
|  | 3008 | 85.2458
|  | 3010 | 85.4117
|  | 3012 | 85.5385
|  | 3014 | 85.4697
|  | 3016 | 85.1776
|  | 3018 | 85.4832
|  | 3020 | 85.4761
|  | 3022 | 85.3054
|  | 3024 | 85.1669
|  | 3026 | 85.4959
|  | 3028 | 85.4712
|  | 3030 | 85.1327
|  | 3032 | 85.415
|  | 3034 | 85.2242
|  | 3036 | 85.3101
|  | 3038 | 85.4896
|  | 3040 | 85.446
|  | 3042 | 85.3911
|  | 3044 | 85.1499
|  | 3046 | 85.6199
|  | 3048 | 85.4015
|  | 3050 | 85.2724
|  | 3052 | 85.3495
|  | 3054 | 85.3784
|  | 3056 | 85.3328
|  | 3058 | 85.1504
|  | 3060 | 85.3836
|  | 3062 | 85.3326
|  | 3064 | 85.3143
|  | 3066 | 85.4111
|  | 3068 | 85.4033
|  | 3070 | 85.52
|  | 3072 | 85.4026
|  | 3074 | 85.4358
|  | 3076 | 85.9073
|  | 3078 | 85.4367
|  | 3080 | 85.9159
|  | 3082 | 85.4197
|  | 3084 | 85.7997
|  | 3086 | 86.0895
|  | 3088 | 85.6224
|  | 3090 | 85.3988
|  | 3092 | 85.7119
|  | 3094 | 85.2441
|  | 3096 | 85.2628
|  | 3098 | 85.5872
|  | 3100 | 85.3027
|  | 3102 | 85.5238
|  | 3104 | 85.8483
|  | 3106 | 85.5148
|  | 3108 | 85.8286
|  | 3110 | 86.0792
|  | 3112 | 85.7548
|  | 3114 | 85.4249
|  | 3116 | 85.4513
|  | 3118 | 85.8274
|  | 3120 | 86.0846
|  | 3122 | 85.3457
|  | 3124 | 85.3555
|  | 3126 | 85.5136
|  | 3128 | 85.6828
|  | 3130 | 85.7427
|  | 3132 | 85.84
|  | 3134 | 85.7212
|  | 3136 | 85.5777
|  | 3138 | 85.8262
|  | 3140 | 86.1861
|  | 3142 | 85.8493
|  | 3144 | 85.1241
|  | 3146 | 85.852
|  | 3148 | 85.9099
|  | 3150 | 85.7202
|  | 3152 | 85.8621
|  | 3154 | 85.9696
|  | 3156 | 86.0199
|  | 3158 | 86.7516
|  | 3160 | 85.465
|  | 3162 | 85.6581
|  | 3164 | 85.512
|  | 3166 | 86.1576
|  | 3168 | 85.6335
|  | 3170 | 86.0708
|  | 3172 | 86.7463
|  | 3174 | 84.9207
|  | 3176 | 86.6672
|  | 3178 | 85.0505
|  | 3180 | 85.2081
|  | 3182 | 85.902
|  | 3184 | 85.6278
|  | 3186 | 85.7339
|  | 3188 | 84.7471
|  | 3190 | 85.785
|  | 3192 | 85.5537
|  | 3194 | 85.9812
|  | 3196 | 86.5077
|  | 3198 | 85.863
|  | 3200 | 87.5093
|  | 3202 | 84.2652
|  | 3204 | 87.1843
|  | 3206 | 85.0824
|  | 3208 | 87.8056
|  | 3210 | 85.5237
|  | 3212 | 85.9412
|  | 3214 | 85.8188
|  | 3216 | 85.2468
|  | 3218 | 86.6545
|  | 3220 | 85.9362
|  | 3222 | 86.2854
|  | 3224 | 85.5713
|  | 3226 | 84.949
|  | 3228 | 85.8126
|  | 3230 | 87.2702
|  | 3232 | 87.8614
|  | 3234 | 85.877
|  | 3236 | 87.0052
|  | 3238 | 87.2564
|  | 3240 | 84.6159
|  | 3242 | 87.4546
|  | 3244 | 85.5639
|  | 3246 | 87.6531
|  | 3248 | 84.8923
|  | 3250 | 85.7984
|  | 3252 | 87.7097
|  | 3254 | 84.373
|  | 3256 | 87.1888
|  | 3258 | 85.9199
|  | 3260 | 87.6362
|  | 3262 | 85.1006
|  | 3264 | 85.803
|  | 3266 | 87.1743
|  | 3268 | 85.8317
|  | 3270 | 87.2001
|  | 3272 | 85.6476
|  | 3274 | 88.4115
|  | 3276 | 86.2785
|  | 3278 | 87.4786
|  | 3280 | 88.554
|  | 3282 | 85.5853
|  | 3284 | 86.0321
|  | 3286 | 86.6292
|  | 3288 | 87.3402
|  | 3290 | 85.968
|  | 3292 | 86.7368
|  | 3294 | 87.1921
|  | 3296 | 87.8506
|  | 3298 | 88.3919
|  | 3300 | 87.2772