## Responsivity
|  | Wavelength (nm) | Responsivity (A/W)
|  | 400.828 | 1.7987
|  | 402.4035 | 1.7991
|  | 403.979 | 1.7994
|  | 405.5517 | 1.9046
|  | 407.1272 | 1.905
Product Raw Data |  | 408.7027 | 1.9053
Si Fiber-Coupled Avalanche Photodetector Typical Responsivity |  | 410.2754 | 2.0105
|  | 411.8509 | 2.0109
Item # | APD431A | 413.4264 | 2.0112
DISCLAIMER: Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 414.9991 | 2.1165
|  | 416.5746 | 2.1168
|  | 418.1501 | 2.1171
|  | 419.7228 | 2.2224
|  | 421.2983 | 2.2227
|  | 422.871 | 2.3279
This data may be used in publications. However, please cite Thorlabs as the source. |  | 424.4465 | 2.3283
|  | 426.0192 | 2.4335
|  | 427.592 | 2.5388
Additional Information: |  | 429.1675 | 2.5391
|  | 430.7402 | 2.6444
|  | 432.3129 | 2.7496
|  | 433.8884 | 2.75
|  | 435.4611 | 2.8552
|  | 437.0339 | 2.9605
|  | 438.6066 | 3.0657
|  | 440.1793 | 3.171
|  | 441.752 | 3.2763
|  | 443.3248 | 3.3815
|  | 444.8975 | 3.4868
|  | 444.8947 | 3.5917
|  | 446.4675 | 3.697
|  | 446.4647 | 3.8019
|  | 448.0374 | 3.9072
|  | 449.6102 | 4.0125
|  | 451.1829 | 4.1177
|  | 451.1802 | 4.2227
|  | 452.7529 | 4.3279
|  | 454.3256 | 4.4332
|  | 454.3229 | 4.5381
|  | 455.8956 | 4.6434
|  | 457.4683 | 4.7486
|  | 457.4656 | 4.8536
|  | 459.0383 | 4.9588
|  | 460.611 | 5.0641
|  | 460.6082 | 5.1691
|  | 462.181 | 5.2743
|  | 463.7537 | 5.3796
|  | 463.7509 | 5.4845
|  | 465.3237 | 5.5898
|  | 465.3209 | 5.6947
|  | 466.8936 | 5.8
|  | 468.4664 | 5.9052
|  | 468.4636 | 6.0102
|  | 470.0364 | 6.1154
|  | 470.0336 | 6.2204
|  | 471.6063 | 6.3256
|  | 473.1791 | 6.4309
|  | 473.1763 | 6.5358
|  | 474.749 | 6.6411
|  | 474.7463 | 6.7461
|  | 476.319 | 6.8513
|  | 476.3163 | 6.9562
|  | 477.889 | 7.0615
|  | 479.4617 | 7.1668
|  | 479.459 | 7.2717
|  | 481.0317 | 7.377
|  | 481.0289 | 7.4819
|  | 482.6017 | 7.5872
|  | 482.5989 | 7.6921
|  | 484.1716 | 7.7974
|  | 484.1689 | 7.9023
|  | 485.7416 | 8.0076
|  | 485.7388 | 8.1125
|  | 487.3116 | 8.2178
|  | 488.8843 | 8.3231
|  | 488.8815 | 8.428
|  | 490.4543 | 8.5333
|  | 490.4515 | 8.6382
|  | 492.0242 | 8.7434
|  | 492.0215 | 8.8484
|  | 493.5942 | 8.9537
|  | 493.5915 | 9.0586
|  | 495.1642 | 9.1639
|  | 495.1614 | 9.2688
|  | 496.7342 | 9.3741
|  | 496.7314 | 9.479
|  | 498.3041 | 9.5843
|  | 498.3014 | 9.6892
|  | 499.8741 | 9.7945
|  | 499.8714 | 9.8994
|  | 499.8686 | 10.0044
|  | 499.8658 | 10.1093
|  | 499.8631 | 10.2142
|  | 499.8603 | 10.3192
|  | 501.4358 | 10.3195
|  | 503.0085 | 10.4247
|  | 504.5813 | 10.53
|  | 504.5785 | 10.6349
|  | 506.1512 | 10.7402
|  | 506.1485 | 10.8452
|  | 507.7212 | 10.9504
|  | 507.7185 | 11.0554
|  | 507.7157 | 11.1603
|  | 509.2884 | 11.2656
|  | 509.2857 | 11.3705
|  | 510.8584 | 11.4758
|  | 510.8557 | 11.5807
|  | 510.8529 | 11.6856
|  | 512.4256 | 11.7909
|  | 512.4229 | 11.8958
|  | 513.9956 | 12.0011
|  | 513.9928 | 12.106
|  | 513.9901 | 12.211
|  | 515.5628 | 12.3163
|  | 515.5601 | 12.4212
|  | 515.5573 | 12.5261
|  | 517.13 | 12.6314
|  | 517.1273 | 12.7363
|  | 517.1245 | 12.8413
|  | 518.6973 | 12.9465
|  | 518.6945 | 13.0515
|  | 518.6917 | 13.1564
|  | 520.2645 | 13.2617
|  | 520.2617 | 13.3666
|  | 520.259 | 13.4716
|  | 521.8317 | 13.5768
|  | 521.8289 | 13.6818
|  | 521.8262 | 13.7867
|  | 523.3989 | 13.892
|  | 523.3961 | 13.9969
|  | 523.3934 | 14.1018
|  | 524.9661 | 14.2071
|  | 524.9634 | 14.312
|  | 526.5361 | 14.4173
|  | 526.5333 | 14.5222
|  | 526.5306 | 14.6272
|  | 528.1033 | 14.7325
|  | 528.1005 | 14.8374
|  | 528.0978 | 14.9423
|  | 529.6705 | 15.0476
|  | 529.6678 | 15.1525
|  | 531.2405 | 15.2578
|  | 531.2377 | 15.3627
|  | 531.235 | 15.4677
|  | 532.8077 | 15.5729
|  | 532.805 | 15.6779
|  | 534.3777 | 15.7831
|  | 534.3749 | 15.8881
|  | 534.3722 | 15.993
|  | 535.9449 | 16.0983
|  | 535.9421 | 16.2032
|  | 535.9394 | 16.3082
|  | 537.5121 | 16.4134
|  | 537.5094 | 16.5184
|  | 539.0821 | 16.6236
|  | 539.0793 | 16.7286
|  | 539.0766 | 16.8335
|  | 540.6493 | 16.9388
|  | 540.6466 | 17.0437
|  | 540.6438 | 17.1486
|  | 542.2165 | 17.2539
|  | 542.2138 | 17.3589
|  | 543.7865 | 17.4641
|  | 543.7837 | 17.5691
|  | 545.3565 | 17.6743
|  | 545.3537 | 17.7793
|  | 545.351 | 17.8842
|  | 546.9237 | 17.9895
|  | 546.9209 | 18.0944
|  | 548.4937 | 18.1997
|  | 548.4909 | 18.3046
|  | 548.4882 | 18.4095
|  | 550.0609 | 18.5148
|  | 550.0581 | 18.6197
|  | 550.0554 | 18.7247
|  | 551.6281 | 18.83
|  | 551.6253 | 18.9349
|  | 553.1981 | 19.0402
|  | 553.1953 | 19.1451
|  | 554.768 | 19.2504
|  | 554.7653 | 19.3553
|  | 554.7625 | 19.4602
|  | 556.3353 | 19.5655
|  | 556.3325 | 19.6704
|  | 556.3297 | 19.7754
|  | 557.9025 | 19.8806
|  | 557.8997 | 19.9856
|  | 557.897 | 20.0905
|  | 559.4697 | 20.1958
|  | 561.0424 | 20.301
|  | 561.0397 | 20.406
|  | 561.0369 | 20.5109
|  | 562.6096 | 20.6162
|  | 562.6069 | 20.7211
|  | 564.1796 | 20.8264
|  | 564.1769 | 20.9313
|  | 564.1741 | 21.0363
|  | 565.7468 | 21.1415
|  | 565.7441 | 21.2465
|  | 567.3168 | 21.3517
|  | 567.314 | 21.4567
|  | 567.3113 | 21.5616
|  | 568.884 | 21.6669
|  | 568.8813 | 21.7718
|  | 570.454 | 21.8771
|  | 570.4512 | 21.982
|  | 570.4485 | 22.087
|  | 572.0212 | 22.1922
|  | 572.0185 | 22.2972
|  | 573.5912 | 22.4024
|  | 573.5884 | 22.5074
|  | 573.5857 | 22.6123
|  | 575.1584 | 22.7176
|  | 575.1557 | 22.8225
|  | 576.7284 | 22.9278
|  | 576.7256 | 23.0327
|  | 576.7229 | 23.1377
|  | 578.2956 | 23.2429
|  | 578.2928 | 23.3479
|  | 579.8656 | 23.4531
|  | 579.8628 | 23.5581
|  | 579.8601 | 23.663
|  | 579.8573 | 23.7679
|  | 581.43 | 23.8732
|  | 583.0027 | 23.9785
|  | 583 | 24.0834
|  | 582.9972 | 24.1883
|  | 584.57 | 24.2936
|  | 584.5672 | 24.3985
|  | 586.1399 | 24.5038
|  | 586.1372 | 24.6087
|  | 586.1344 | 24.7137
|  | 587.7072 | 24.819
|  | 587.7044 | 24.9239
|  | 589.2771 | 25.0292
|  | 589.2744 | 25.1341
|  | 589.2716 | 25.239
|  | 590.8443 | 25.3443
|  | 590.8416 | 25.4492
|  | 592.4143 | 25.5545
|  | 592.4116 | 25.6594
|  | 592.4088 | 25.7644
|  | 593.9815 | 25.8696
|  | 593.9788 | 25.9746
|  | 595.5515 | 26.0798
|  | 595.5488 | 26.1848
|  | 597.1215 | 26.29
|  | 597.1187 | 26.395
|  | 597.116 | 26.4999
|  | 598.6887 | 26.6052
|  | 598.686 | 26.7101
|  | 598.6832 | 26.8151
|  | 598.6804 | 26.92
|  | 598.6777 | 27.025
|  | 598.6749 | 27.1299
|  | 600.2504 | 27.1302
|  | 601.8231 | 27.2355
|  | 603.3959 | 27.3407
|  | 603.3931 | 27.4457
|  | 603.3904 | 27.5506
|  | 604.9631 | 27.6559
|  | 604.9603 | 27.7608
|  | 606.5331 | 27.8661
|  | 606.5303 | 27.971
|  | 606.5276 | 28.076
|  | 608.1003 | 28.1812
|  | 608.0975 | 28.2862
|  | 609.6703 | 28.3914
|  | 609.6675 | 28.4964
|  | 609.6647 | 28.6013
|  | 611.2375 | 28.7066
|  | 611.2347 | 28.8115
|  | 612.8074 | 28.9168
|  | 612.8047 | 29.0217
|  | 612.8019 | 29.1267
|  | 614.3746 | 29.2319
|  | 614.3719 | 29.3368
|  | 615.9446 | 29.4421
|  | 615.9419 | 29.547
|  | 615.9391 | 29.652
|  | 617.5118 | 29.7572
|  | 617.5091 | 29.8622
|  | 619.0818 | 29.9675
|  | 619.0791 | 30.0724
|  | 619.0763 | 30.1773
|  | 620.649 | 30.2826
|  | 620.6463 | 30.3875
|  | 622.219 | 30.4928
|  | 622.2162 | 30.5977
|  | 622.2135 | 30.7027
|  | 623.7862 | 30.8079
|  | 623.7835 | 30.9129
|  | 623.7807 | 31.0178
|  | 625.3534 | 31.1231
|  | 625.3507 | 31.228
|  | 626.9234 | 31.3333
|  | 626.9207 | 31.4382
|  | 626.9179 | 31.5432
|  | 628.4906 | 31.6484
|  | 628.4879 | 31.7534
|  | 630.0606 | 31.8586
|  | 630.0579 | 31.9636
|  | 630.0551 | 32.0685
|  | 631.6278 | 32.1738
|  | 631.6251 | 32.2787
|  | 633.1978 | 32.384
|  | 633.195 | 32.4889
|  | 633.1923 | 32.5939
|  | 634.765 | 32.6991
|  | 634.7623 | 32.8041
|  | 634.7595 | 32.909
|  | 636.3322 | 33.0143
|  | 636.3295 | 33.1192
|  | 637.9022 | 33.2245
|  | 637.8995 | 33.3294
|  | 637.8967 | 33.4344
|  | 639.4694 | 33.5396
|  | 639.4667 | 33.6446
|  | 639.4639 | 33.7495
|  | 641.0366 | 33.8548
|  | 641.0339 | 33.9597
|  | 642.6066 | 34.065
|  | 642.6038 | 34.1699
|  | 642.6011 | 34.2748
|  | 644.1738 | 34.3801
|  | 644.1711 | 34.485
|  | 645.7438 | 34.5903
|  | 645.741 | 34.6952
|  | 645.7383 | 34.8002
|  | 647.311 | 34.9054
|  | 647.3083 | 35.0104
|  | 647.3055 | 35.1153
|  | 648.8782 | 35.2206
|  | 648.8755 | 35.3255
|  | 648.8727 | 35.4305
|  | 650.4455 | 35.5357
|  | 650.4427 | 35.6407
|  | 652.0154 | 35.7459
|  | 652.0127 | 35.8509
|  | 652.0099 | 35.9558
|  | 653.5826 | 36.0611
|  | 653.5799 | 36.166
|  | 653.5771 | 36.2709
|  | 655.1499 | 36.3762
|  | 655.1471 | 36.4812
|  | 656.7198 | 36.5864
|  | 656.7171 | 36.6914
|  | 656.7143 | 36.7963
|  | 658.2871 | 36.9016
|  | 658.2843 | 37.0065
|  | 658.2815 | 37.1114
|  | 659.8543 | 37.2167
|  | 659.8515 | 37.3216
|  | 661.4242 | 37.4269
|  | 661.4215 | 37.5318
|  | 661.4187 | 37.6368
|  | 662.9915 | 37.742
|  | 662.9887 | 37.847
|  | 664.5614 | 37.9522
|  | 664.5587 | 38.0572
|  | 664.5559 | 38.1621
|  | 666.1286 | 38.2674
|  | 666.1259 | 38.3723
|  | 667.6986 | 38.4776
|  | 667.6959 | 38.5825
|  | 667.6931 | 38.6875
|  | 669.2658 | 38.7927
|  | 669.2631 | 38.8977
|  | 670.8358 | 39.0029
|  | 670.833 | 39.1079
|  | 670.8303 | 39.2128
|  | 672.403 | 39.3181
|  | 672.4003 | 39.423
|  | 673.973 | 39.5283
|  | 673.9702 | 39.6332
|  | 673.9675 | 39.7382
|  | 675.5402 | 39.8434
|  | 675.5375 | 39.9484
|  | 675.5347 | 40.0533
|  | 677.1074 | 40.1586
|  | 677.1047 | 40.2635
|  | 678.6774 | 40.3688
|  | 678.6747 | 40.4737
|  | 680.2474 | 40.579
|  | 680.2446 | 40.6839
|  | 681.8174 | 40.7892
|  | 681.8146 | 40.8941
|  | 681.8118 | 40.9991
|  | 683.3846 | 41.1043
|  | 683.3818 | 41.2093
|  | 684.9545 | 41.3145
|  | 684.9518 | 41.4195
|  | 686.5245 | 41.5247
|  | 686.5218 | 41.6297
|  | 686.519 | 41.7346
|  | 688.0917 | 41.8399
|  | 688.089 | 41.9448
|  | 689.6617 | 42.0501
|  | 689.659 | 42.155
|  | 689.6562 | 42.26
|  | 691.2289 | 42.3652
|  | 691.2262 | 42.4701
|  | 692.7989 | 42.5754
|  | 692.7961 | 42.6803
|  | 694.3689 | 42.7856
|  | 694.3661 | 42.8906
|  | 695.9388 | 42.9958
|  | 695.9361 | 43.1008
|  | 695.9333 | 43.2057
|  | 697.5061 | 43.311
|  | 697.5033 | 43.4159
|  | 699.076 | 43.5212
|  | 699.0733 | 43.6261
|  | 699.0705 | 43.731
|  | 699.0678 | 43.836
|  | 699.065 | 43.9409
|  | 700.6405 | 43.9412
|  | 702.2132 | 44.0465
|  | 703.7859 | 44.1518
|  | 703.7832 | 44.2567
|  | 703.7804 | 44.3616
|  | 705.3532 | 44.4669
|  | 705.3504 | 44.5718
|  | 706.9231 | 44.6771
|  | 706.9204 | 44.7821
|  | 708.4931 | 44.8873
|  | 708.4904 | 44.9923
|  | 710.0631 | 45.0975
|  | 710.0603 | 45.2025
|  | 711.6331 | 45.3077
|  | 711.6303 | 45.4127
|  | 713.203 | 45.5179
|  | 713.2003 | 45.6229
|  | 714.773 | 45.7281
|  | 714.7703 | 45.8331
|  | 716.343 | 45.9383
|  | 716.3402 | 46.0433
|  | 716.3375 | 46.1482
|  | 717.9102 | 46.2535
|  | 717.9074 | 46.3584
|  | 719.4802 | 46.4637
|  | 719.4774 | 46.5686
|  | 721.0501 | 46.6739
|  | 721.0474 | 46.7788
|  | 722.6201 | 46.8841
|  | 724.1928 | 46.9893
|  | 724.1901 | 47.0943
|  | 724.1873 | 47.1992
|  | 725.7601 | 47.3045
|  | 725.7573 | 47.4094
|  | 727.33 | 47.5147
|  | 728.9028 | 47.62
|  | 728.9 | 47.7249
|  | 730.4727 | 47.8302
|  | 730.47 | 47.9351
|  | 732.0427 | 48.0403
|  | 732.0399 | 48.1453
|  | 733.6127 | 48.2505
|  | 733.6099 | 48.3555
|  | 735.1826 | 48.4608
|  | 735.1799 | 48.5657
|  | 736.7526 | 48.671
|  | 736.7499 | 48.7759
|  | 738.3226 | 48.8812
|  | 738.3198 | 48.9861
|  | 739.8926 | 49.0914
|  | 741.4653 | 49.1966
|  | 741.4625 | 49.3016
|  | 743.0353 | 49.4068
|  | 743.0325 | 49.5118
|  | 744.6052 | 49.617
|  | 746.178 | 49.7223
|  | 746.1752 | 49.8272
|  | 747.7479 | 49.9325
|  | 747.7452 | 50.0374
|  | 749.3179 | 50.1427
|  | 750.8906 | 50.248
|  | 750.8879 | 50.3529
|  | 752.4606 | 50.4582
|  | 754.0334 | 50.5634
|  | 754.0306 | 50.6684
|  | 755.6033 | 50.7736
|  | 757.1761 | 50.8789
|  | 758.7488 | 50.9841
|  | 758.746 | 51.0891
|  | 760.3188 | 51.1944
|  | 761.8915 | 51.2996
|  | 763.4642 | 51.4049
|  | 765.0369 | 51.5101
|  | 765.0342 | 51.6151
|  | 766.6097 | 51.6154
|  | 766.6069 | 51.7203
|  | 768.1796 | 51.8256
|  | 769.7524 | 51.9309
|  | 771.3251 | 52.0361
|  | 772.8978 | 52.1414
|  | 774.4706 | 52.2467
|  | 776.0433 | 52.3519
|  | 777.616 | 52.4572
|  | 779.1887 | 52.5624
|  | 780.7615 | 52.6677
|  | 782.3342 | 52.773
|  | 783.9097 | 52.7733
|  | 785.4824 | 52.8785
|  | 787.0551 | 52.9838
|  | 788.6306 | 52.9841
|  | 790.2033 | 53.0894
|  | 791.7788 | 53.0897
|  | 793.3515 | 53.195
|  | 794.927 | 53.1953
|  | 796.5025 | 53.1956
|  | 798.0752 | 53.3009
|  | 799.6507 | 53.3012
|  | 801.2235 | 53.4065
|  | 802.7989 | 53.4068
|  | 804.3744 | 53.4071
|  | 805.9499 | 53.4074
|  | 807.5254 | 53.4077
|  | 809.1009 | 53.4081
|  | 810.6764 | 53.4084
|  | 812.2518 | 53.4087
|  | 813.8273 | 53.409
|  | 815.4028 | 53.4094
|  | 816.9783 | 53.4097
|  | 818.5565 | 53.3051
|  | 820.132 | 53.3054
|  | 821.7075 | 53.3057
|  | 823.2858 | 53.2011
|  | 824.8612 | 53.2014
|  | 826.4395 | 53.0968
|  | 828.015 | 53.0971
|  | 829.5932 | 52.9925
|  | 831.1687 | 52.9928
|  | 832.7469 | 52.8882
|  | 834.3252 | 52.7836
|  | 835.9034 | 52.679
|  | 837.4816 | 52.5743
|  | 839.0599 | 52.4697
|  | 840.6381 | 52.3651
|  | 842.2164 | 52.2605
|  | 843.7946 | 52.1559
|  | 845.3728 | 52.0512
|  | 846.9511 | 51.9466
|  | 848.5293 | 51.842
|  | 848.5321 | 51.7371
|  | 850.1103 | 51.6324
|  | 851.6885 | 51.5278
|  | 851.6913 | 51.4229
|  | 851.6941 | 51.3179
|  | 853.2695 | 51.3183
|  | 853.2723 | 51.2133
|  | 854.8505 | 51.1087
|  | 854.8533 | 51.0038
|  | 856.4315 | 50.8991
|  | 856.4343 | 50.7942
|  | 858.0125 | 50.6896
|  | 858.0153 | 50.5846
|  | 859.5935 | 50.48
|  | 859.5963 | 50.3751
|  | 859.599 | 50.2701
|  | 861.1773 | 50.1655
|  | 862.7555 | 50.0609
|  | 862.7583 | 49.956
|  | 862.761 | 49.851
|  | 864.3393 | 49.7464
|  | 864.342 | 49.6415
|  | 865.9203 | 49.5368
|  | 865.923 | 49.4319
|  | 865.9258 | 49.327
|  | 867.504 | 49.2223
|  | 867.5068 | 49.1174
|  | 869.085 | 49.0128
|  | 869.0878 | 48.9078
|  | 869.0905 | 48.8029
|  | 870.6688 | 48.6983
|  | 870.6715 | 48.5934
|  | 870.6743 | 48.4884
|  | 872.2525 | 48.3838
|  | 872.2553 | 48.2788
|  | 872.258 | 48.1739
|  | 873.8363 | 48.0693
|  | 873.839 | 47.9644
|  | 875.4172 | 47.8597
|  | 875.42 | 47.7548
|  | 875.4228 | 47.6499
|  | 877.001 | 47.5452
|  | 877.0038 | 47.4403
|  | 877.0065 | 47.3353
|  | 878.5847 | 47.2307
|  | 878.5875 | 47.1258
|  | 878.5903 | 47.0209
|  | 880.1685 | 46.9162
|  | 880.1713 | 46.8113
|  | 880.174 | 46.7064
|  | 881.7523 | 46.6017
|  | 881.755 | 46.4968
|  | 881.7578 | 46.3918
|  | 881.7605 | 46.2869
|  | 883.3388 | 46.1823
|  | 883.3415 | 46.0774
|  | 884.9198 | 45.9727
|  | 884.9225 | 45.8678
|  | 884.9253 | 45.7629
|  | 884.928 | 45.6579
|  | 886.5063 | 45.5533
|  | 886.509 | 45.4483
|  | 886.5118 | 45.3434
|  | 888.09 | 45.2388
|  | 888.0928 | 45.1339
|  | 888.0955 | 45.0289
|  | 889.6738 | 44.9243
|  | 889.6765 | 44.8194
|  | 889.6793 | 44.7144
|  | 889.682 | 44.6095
|  | 891.2603 | 44.5048
|  | 891.263 | 44.3999
|  | 891.2658 | 44.295
|  | 892.844 | 44.1904
|  | 892.8468 | 44.0854
|  | 892.8495 | 43.9805
|  | 894.4278 | 43.8758
|  | 894.4305 | 43.7709
|  | 894.4333 | 43.666
|  | 894.436 | 43.561
|  | 896.0143 | 43.4564
|  | 896.017 | 43.3515
|  | 896.0198 | 43.2465
|  | 896.0225 | 43.1416
|  | 897.6008 | 43.037
|  | 897.6035 | 42.932
|  | 897.6063 | 42.8271
|  | 899.1845 | 42.7225
|  | 899.1873 | 42.6175
|  | 899.19 | 42.5126
|  | 899.1928 | 42.4076
|  | 900.771 | 42.303
|  | 900.7738 | 42.1981
|  | 900.7766 | 42.0932
|  | 900.7793 | 41.9882
|  | 900.7821 | 41.8833
|  | 900.7848 | 41.7783
|  | 900.7876 | 41.6734
|  | 902.3631 | 41.6737
|  | 903.9413 | 41.5691
|  | 903.944 | 41.4641
|  | 903.9468 | 41.3592
|  | 903.9496 | 41.2543
|  | 905.5278 | 41.1497
|  | 905.5305 | 41.0447
|  | 905.5333 | 40.9398
|  | 907.1115 | 40.8351
|  | 907.1143 | 40.7302
|  | 907.1171 | 40.6253
|  | 907.1198 | 40.5203
|  | 908.6981 | 40.4157
|  | 908.7008 | 40.3108
|  | 908.7036 | 40.2058
|  | 908.7063 | 40.1009
|  | 910.2846 | 39.9963
|  | 910.2873 | 39.8913
|  | 910.2901 | 39.7864
|  | 910.2928 | 39.6814
|  | 911.8711 | 39.5768
|  | 911.8738 | 39.4719
|  | 911.8766 | 39.367
|  | 913.4548 | 39.2623
|  | 913.4576 | 39.1574
|  | 913.4603 | 39.0525
|  | 913.4631 | 38.9475
|  | 915.0413 | 38.8429
|  | 915.0441 | 38.7379
|  | 915.0468 | 38.633
|  | 915.0496 | 38.5281
|  | 916.6278 | 38.4235
|  | 916.6306 | 38.3185
|  | 916.6333 | 38.2136
|  | 916.6361 | 38.1086
|  | 918.2143 | 38.004
|  | 918.2171 | 37.8991
|  | 918.2198 | 37.7941
|  | 918.2226 | 37.6892
|  | 919.8008 | 37.5846
|  | 919.8036 | 37.4796
|  | 919.8063 | 37.3747
|  | 919.8091 | 37.2698
|  | 921.3873 | 37.1651
|  | 921.3901 | 37.0602
|  | 921.3929 | 36.9552
|  | 921.3956 | 36.8503
|  | 922.9739 | 36.7457
|  | 922.9766 | 36.6407
|  | 922.9794 | 36.5358
|  | 922.9821 | 36.4309
|  | 924.5604 | 36.3263
|  | 924.5631 | 36.2213
|  | 924.5659 | 36.1164
|  | 924.5686 | 36.0114
|  | 926.1469 | 35.9068
|  | 926.1496 | 35.8019
|  | 926.1524 | 35.6969
|  | 926.1551 | 35.592
|  | 927.7334 | 35.4874
|  | 927.7361 | 35.3824
|  | 927.7389 | 35.2775
|  | 927.7416 | 35.1726
|  | 929.3199 | 35.0679
|  | 929.3226 | 34.963
|  | 929.3254 | 34.858
|  | 929.3282 | 34.7531
|  | 930.9064 | 34.6485
|  | 930.9091 | 34.5436
|  | 930.9119 | 34.4386
|  | 930.9147 | 34.3337
|  | 932.4929 | 34.2291
|  | 932.4956 | 34.1241
|  | 932.4984 | 34.0192
|  | 932.5012 | 33.9142
|  | 932.5039 | 33.8093
|  | 934.0821 | 33.7047
|  | 934.0849 | 33.5997
|  | 934.0877 | 33.4948
|  | 934.0904 | 33.3899
|  | 935.6687 | 33.2852
|  | 935.6714 | 33.1803
|  | 935.6742 | 33.0754
|  | 935.6769 | 32.9704
|  | 937.2552 | 32.8658
|  | 937.2579 | 32.7608
|  | 937.2607 | 32.6559
|  | 937.2634 | 32.551
|  | 938.8417 | 32.4464
|  | 938.8444 | 32.3414
|  | 938.8472 | 32.2365
|  | 938.8499 | 32.1315
|  | 940.4282 | 32.0269
|  | 940.4309 | 31.922
|  | 940.4337 | 31.817
|  | 940.4364 | 31.7121
|  | 940.4392 | 31.6071
|  | 942.0174 | 31.5025
|  | 942.0202 | 31.3976
|  | 942.023 | 31.2926
|  | 942.0257 | 31.1877
|  | 943.604 | 31.0831
|  | 943.6067 | 30.9781
|  | 943.6095 | 30.8732
|  | 943.6122 | 30.7683
|  | 945.1905 | 30.6636
|  | 945.1932 | 30.5587
|  | 945.196 | 30.4538
|  | 945.1987 | 30.3488
|  | 945.2015 | 30.2439
|  | 946.7797 | 30.1393
|  | 946.7825 | 30.0343
|  | 946.7852 | 29.9294
|  | 946.788 | 29.8244
|  | 948.3662 | 29.7198
|  | 948.369 | 29.6149
|  | 948.3717 | 29.5099
|  | 948.3745 | 29.405
|  | 949.9527 | 29.3004
|  | 949.9555 | 29.1954
|  | 949.9582 | 29.0905
|  | 949.961 | 28.9856
|  | 951.5392 | 28.8809
|  | 951.542 | 28.776
|  | 951.5447 | 28.6711
|  | 951.5475 | 28.5661
|  | 951.5503 | 28.4612
|  | 953.1285 | 28.3566
|  | 953.1313 | 28.2516
|  | 953.134 | 28.1467
|  | 953.1368 | 28.0417
|  | 954.715 | 27.9371
|  | 954.7178 | 27.8322
|  | 954.7205 | 27.7272
|  | 954.7233 | 27.6223
|  | 954.726 | 27.5174
|  | 956.3043 | 27.4127
|  | 956.307 | 27.3078
|  | 956.3098 | 27.2029
|  | 956.3125 | 27.0979
|  | 957.8908 | 26.9933
|  | 957.8935 | 26.8884
|  | 957.8963 | 26.7834
|  | 957.899 | 26.6785
|  | 959.4773 | 26.5739
|  | 959.48 | 26.4689
|  | 959.4828 | 26.364
|  | 959.4855 | 26.259
|  | 959.4883 | 26.1541
|  | 961.0665 | 26.0495
|  | 961.0693 | 25.9445
|  | 961.072 | 25.8396
|  | 961.0748 | 25.7347
|  | 961.0776 | 25.6297
|  | 962.6558 | 25.5251
|  | 962.6585 | 25.4202
|  | 962.6613 | 25.3152
|  | 962.6641 | 25.2103
|  | 964.2423 | 25.1057
|  | 964.2451 | 25.0007
|  | 964.2478 | 24.8958
|  | 964.2506 | 24.7908
|  | 964.2533 | 24.6859
|  | 965.8316 | 24.5813
|  | 965.8343 | 24.4763
|  | 965.8371 | 24.3714
|  | 965.8398 | 24.2665
|  | 967.4181 | 24.1618
|  | 967.4208 | 24.0569
|  | 967.4236 | 23.952
|  | 967.4263 | 23.847
|  | 967.4291 | 23.7421
|  | 969.0073 | 23.6375
|  | 969.0101 | 23.5325
|  | 969.0128 | 23.4276
|  | 969.0156 | 23.3226
|  | 970.5938 | 23.218
|  | 970.5966 | 23.1131
|  | 970.5993 | 23.0081
|  | 970.6021 | 22.9032
|  | 970.6049 | 22.7983
|  | 972.1831 | 22.6936
|  | 972.1858 | 22.5887
|  | 972.1886 | 22.4838
|  | 972.1914 | 22.3788
|  | 973.7696 | 22.2742
|  | 973.7724 | 22.1693
|  | 973.7751 | 22.0643
|  | 973.7779 | 21.9594
|  | 973.7806 | 21.8544
|  | 975.3589 | 21.7498
|  | 975.3616 | 21.6449
|  | 975.3644 | 21.5399
|  | 975.3671 | 21.435
|  | 975.3699 | 21.3301
|  | 976.9481 | 21.2254
|  | 976.9509 | 21.1205
|  | 976.9536 | 21.0156
|  | 976.9564 | 20.9106
|  | 978.5346 | 20.806
|  | 978.5374 | 20.7011
|  | 978.5402 | 20.5961
|  | 978.5429 | 20.4912
|  | 980.1211 | 20.3866
|  | 980.1239 | 20.2816
|  | 980.1267 | 20.1767
|  | 980.1294 | 20.0717
|  | 980.1322 | 19.9668
|  | 980.1349 | 19.8619
|  | 981.7132 | 19.7572
|  | 981.7159 | 19.6523
|  | 981.7187 | 19.5474
|  | 981.7214 | 19.4424
|  | 981.7242 | 19.3375
|  | 983.3024 | 19.2329
|  | 983.3052 | 19.1279
|  | 983.3079 | 19.023
|  | 983.3107 | 18.918
|  | 984.8889 | 18.8134
|  | 984.8917 | 18.7085
|  | 984.8944 | 18.6035
|  | 984.8972 | 18.4986
|  | 984.8999 | 18.3937
|  | 986.4782 | 18.289
|  | 986.4809 | 18.1841
|  | 986.4837 | 18.0791
|  | 986.4864 | 17.9742
|  | 986.4892 | 17.8693
|  | 988.0675 | 17.7646
|  | 988.0702 | 17.6597
|  | 988.073 | 17.5548
|  | 988.0757 | 17.4498
|  | 989.654 | 17.3452
|  | 989.6567 | 17.2403
|  | 989.6595 | 17.1353
|  | 989.6622 | 17.0304
|  | 989.665 | 16.9255
|  | 991.2432 | 16.8208
|  | 991.246 | 16.7159
|  | 991.2487 | 16.6109
|  | 991.2515 | 16.506
|  | 991.2542 | 16.4011
|  | 992.8325 | 16.2965
|  | 992.8352 | 16.1915
|  | 992.838 | 16.0866
|  | 992.8407 | 15.9816
|  | 992.8435 | 15.8767
|  | 994.4217 | 15.7721
|  | 994.4245 | 15.6671
|  | 994.4272 | 15.5622
|  | 994.43 | 15.4573
|  | 994.4328 | 15.3523
|  | 996.011 | 15.2477
|  | 996.0138 | 15.1427
|  | 996.0165 | 15.0378
|  | 996.0193 | 14.9329
|  | 997.5975 | 14.8283
|  | 997.6003 | 14.7233
|  | 997.603 | 14.6184
|  | 997.6058 | 14.5134
|  | 997.6085 | 14.4085
|  | 999.1868 | 14.3039
|  | 999.1895 | 14.1989
|  | 999.1923 | 14.094
|  | 1000.7705 | 13.9894
|  | 1000.7733 | 13.8844

## Freq Response
|  | Frequency (MHz) | Gain- Min | Gain- Mid | Gain- Max
|  | 0.3 | 1.876 | 14.4977 | 21.095
|  | 4.2985 | 0.75733 | 13.3989 | 19.9451
|  | 8.297 | 0.67041 | 13.347 | 19.9099
|  | 12.2955 | 0.5415 | 13.2478 | 19.7932
|  | 16.294 | 0.19238 | 12.8844 | 19.4658
Product Raw Data |  | 20.2925 | 0.16895 | 12.9755 | 19.5861
Si Fiber-Coupled Avalanche Photodetector Frequency Response |  | 24.291 | 0.18359 | 12.9998 | 19.5453
|  | 28.2895 | -0.05273 | 12.7847 | 19.381
Item # | APD431A | 32.288 | -0.0293 | 12.8645 | 19.427
DISCLAIMER: Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 36.2865 | -0.13379 | 12.7362 | 19.2921
|  | 40.285 | -0.14502 | 12.7747 | 19.3474
|  | 44.2835 | -0.2417 | 12.7513 | 19.2939
|  | 48.282 | -0.25293 | 12.7883 | 19.353
|  | 52.2805 | -0.20068 | 12.8745 | 19.4211
|  | 56.279 | -0.21875 | 12.9185 | 19.4645
This data may be used in publications. However, please cite Thorlabs as the source. |  | 60.2775 | -0.28027 | 12.9281 | 19.4919
|  | 64.276 | -0.3252 | 12.8595 | 19.4561
|  | 68.2745 | -0.18945 | 13.0805 | 19.6038
Additional Information: |  | 72.273 | -0.12451 | 13.1257 | 19.6352
|  | 76.2715 | -0.24023 | 13.0178 | 19.6323
|  | 80.27 | -0.21484 | 13.0835 | 19.6492
|  | 84.2685 | -0.31592 | 12.9946 | 19.5817
|  | 88.267 | -0.18848 | 13.1095 | 19.668
|  | 92.2655 | -0.19971 | 13.1888 | 19.7224
|  | 96.264 | -0.36426 | 12.9956 | 19.5801
|  | 100.2625 | -0.29199 | 13.0763 | 19.6619
|  | 104.261 | -0.25293 | 13.1134 | 19.666
|  | 108.2595 | -0.271 | 13.0846 | 19.6379
|  | 112.258 | -0.24609 | 13.1346 | 19.7068
|  | 116.2565 | -0.13623 | 13.2485 | 19.8589
|  | 120.255 | -0.24072 | 13.1488 | 19.7224
|  | 124.2535 | -0.10791 | 13.317 | 19.856
|  | 128.252 | -0.16309 | 13.2211 | 19.7754
|  | 132.2505 | -0.12109 | 13.3357 | 19.8686
|  | 136.249 | -0.11279 | 13.2599 | 19.8418
|  | 140.2475 | -0.16504 | 13.2502 | 19.8059
|  | 144.246 | -0.11523 | 13.2842 | 19.9172
|  | 148.2445 | -0.1167 | 13.3635 | 19.9246
|  | 152.243 | -0.03809 | 13.3522 | 19.9512
|  | 156.2415 | -0.10107 | 13.314 | 19.8652
|  | 160.24 | -0.07715 | 13.3538 | 19.9087
|  | 164.2385 | -0.03467 | 13.415 | 19.9905
|  | 168.237 | -0.03662 | 13.4089 | 19.9834
|  | 172.2355 | -0.0625 | 13.3496 | 19.9287
|  | 176.234 | -0.05029 | 13.4042 | 19.9656
|  | 180.2325 | -0.03272 | 13.3872 | 19.9324
|  | 184.231 | -0.04834 | 13.402 | 19.9319
|  | 188.2295 | 0 | 13.385 | 19.9788
|  | 192.228 | -0.10889 | 13.2371 | 19.8145
|  | 196.2265 | -0.21338 | 13.2432 | 19.8311
|  | 200.225 | -0.25244 | 13.2097 | 19.7092
|  | 204.2235 | -0.24414 | 13.1622 | 19.6943
|  | 208.222 | -0.3291 | 13.0483 | 19.58
|  | 212.2205 | -0.16895 | 13.2293 | 19.7398
|  | 216.219 | -0.18457 | 13.2433 | 19.7688
|  | 220.2175 | -0.11279 | 13.2524 | 19.7927
|  | 224.216 | -0.32129 | 13.087 | 19.6797
|  | 228.2145 | -0.09619 | 13.2949 | 19.8503
|  | 232.213 | -0.01855 | 13.3799 | 19.9224
|  | 236.2115 | -0.13721 | 13.2954 | 19.7869
|  | 240.21 | -0.04492 | 13.3413 | 19.821
|  | 244.2085 | -0.12549 | 13.2969 | 19.7622
|  | 248.207 | -0.14551 | 13.3408 | 19.8276
|  | 252.2055 | -0.08105 | 13.3604 | 19.8579
|  | 256.204 | -0.32959 | 13.1687 | 19.6493
|  | 260.2025 | -0.30322 | 13.1616 | 19.6498
|  | 264.201 | -0.26563 | 13.2288 | 19.7205
|  | 268.1995 | -0.55762 | 12.9405 | 19.441
|  | 272.198 | -0.4873 | 13.0892 | 19.5642
|  | 276.1965 | -0.57129 | 12.8933 | 19.4055
|  | 280.195 | -0.54785 | 12.9652 | 19.4714
|  | 284.1935 | -0.67188 | 12.8058 | 19.2994
|  | 288.192 | -0.62891 | 12.8683 | 19.344
|  | 292.1905 | -0.56934 | 12.9777 | 19.4435
|  | 296.189 | -0.61328 | 12.9253 | 19.3657
|  | 300.1875 | -0.75391 | 12.7516 | 19.2573
|  | 304.186 | -0.74805 | 12.8412 | 19.2891
|  | 308.1845 | -0.8291 | 12.7799 | 19.194
|  | 312.183 | -0.81738 | 12.8308 | 19.2892
|  | 316.1815 | -0.89746 | 12.651 | 19.1011
|  | 320.18 | -0.77734 | 12.7847 | 19.2039
|  | 324.1785 | -0.95801 | 12.6614 | 19.1478
|  | 328.177 | -0.88379 | 12.7715 | 19.2206
|  | 332.1755 | -0.8623 | 12.7889 | 19.2412
|  | 336.174 | -1.084 | 12.6509 | 19.0273
|  | 340.1725 | -1.2695 | 12.5492 | 18.9595
|  | 344.171 | -1.293 | 12.5276 | 18.8973
|  | 348.1695 | -1.4356 | 12.4998 | 18.8737
|  | 352.168 | -1.3789 | 12.4313 | 18.8488
|  | 356.1665 | -1.6719 | 12.2295 | 18.6141
|  | 360.165 | -1.7695 | 12.2816 | 18.6741
|  | 364.1635 | -1.9434 | 12.1301 | 18.4725
|  | 368.162 | -2.376 | 11.7817 | 18.2312
|  | 372.1605 | -2.5947 | 11.6857 | 18.0924
|  | 376.159 | -2.7568 | 11.6079 | 18.0154
|  | 380.1575 | -3.0332 | 11.387 | 17.8472
|  | 384.156 | -3.0986 | 11.3525 | 17.8511
|  | 388.1545 | -3.3272 | 11.2046 | 17.6281
|  | 392.153 | -3.7363 | 10.8127 | 17.2522
|  | 396.1515 | -3.9414 | 10.6472 | 17.1599
|  | 400.15 | -4.3633 | 10.186 | 16.589
|  | 404.1485 | -4.751 | 9.7593 | 16.2205
|  | 408.147 | -4.917 | 9.4348 | 15.973
|  | 412.1455 | -5.1699 | 9.1982 | 15.7013
|  | 416.144 | -5.6338 | 8.6094 | 15.0362
|  | 420.1425 | -6.0068 | 8.1157 | 14.5674
|  | 424.141 | -6.3398 | 7.5357 | 13.9775
|  | 428.1395 | -6.7568 | 7.0708 | 13.5863
|  | 432.138 | -6.9941 | 6.6138 | 13.0526
|  | 436.1365 | -7.3965 | 6.0503 | 12.4263
|  | 440.135 | -7.6748 | 5.7832 | 12.2666
|  | 444.1335 | -7.916 | 5.6719 | 12.0476
|  | 448.132 | -8.1621 | 5.5059 | 12.0836
|  | 452.1305 | -8.7315 | 5.2549 | 11.6632
|  | 456.129 | -8.9473 | 5.1128 | 11.5469
|  | 460.1275 | -9.6084 | 4.6094 | 11.1797
|  | 464.126 | -10.4854 | 4.0439 | 10.4968
|  | 468.1245 | -11.0059 | 3.7388 | 10.2153
|  | 472.123 | -11.5801 | 3.0693 | 9.7168
|  | 476.1215 | -12.0488 | 2.6777 | 9.2825
|  | 480.12 | -12.4902 | 2.335 | 8.7715
|  | 484.1185 | -12.8105 | 1.7519 | 8.1233
|  | 488.117 | -13.124 | 1.1899 | 7.5923
|  | 492.1155 | -14.044 | 0.35938 | 6.8242
|  | 496.114 | -14.7041 | -0.50391 | 5.9746
|  | 500.1125 | -16.0352 | -1.5537 | 4.8525
|  | 504.111 | -17.4717 | -2.5039 | 3.9927
|  | 508.1095 | -19.3486 | -3.7275 | 2.8354
|  | 512.108 | -21.9951 | -5.5674 | 1.0625
|  | 516.1065 | -26.5674 | -7.0371 | -0.45215
|  | 520.105 | -29.0693 | -9.9717 | -2.9912
|  | 524.1035 | -35.4756 | -12.1289 | -5.1309
|  | 528.102 | -38.294 | -13.7549 | -7.3857
|  | 532.1005 | -35.665 | -16.3428 | -10.0928
|  | 536.099 | -32.6279 | -19.2725 | -12.5947
|  | 540.0975 | -34.915 | -22.3389 | -14.1992
|  | 544.096 | -34.7471 | -22.126 | -16.6846
|  | 548.0945 | -34.5908 | -36.7471 | -19.6045
|  | 552.093 | -37.7041 | -26.5732 | -19.751
|  | 556.0915 | -33.4522 | -35.3115 | -20.9307
|  | 560.09 | -38.3115 | -24.1709 | -22.1514
|  | 564.0885 | -34.8506 | -34.5478 | -30.2119
|  | 568.087 | -40.2529 | -39.7549 | -49.833
|  | 572.0855 | -38.3272 | -36.9346 | -24.249
|  | 576.084 | -44.4385 | -37.7197 | -25.3877
|  | 580.0825 | -52.5283 | -45.2373 | -27.3936
|  | 584.081 | -44.3096 | -35.8174 | -24.0303
|  | 588.0795 | -45.1885 | -38.2236 | -31.8369
|  | 592.078 | -45.4658 | -26.6826 | -24.1357
|  | 596.0765 | -45.1045 | -32.2217 | -26.5615
|  | 600.075 | -37.251 | -28.7432 | -27.9893
|  | 604.0735 | -52.1416 | -33.8428 | -26.8389
|  | 608.072 | -37.4795 | -36.2197 | -24.1592
|  | 612.0705 | -50.7275 | -29.3193 | -21.1299
|  | 616.069 | -49.2393 | -27.0479 | -41.3662
|  | 620.0675 | -45.1592 | -35.7471 | -21.6885
|  | 624.066 | -42.5928 | -36.3877 | -32.5166
|  | 628.0645 | -44.4619 | -27.9678 | -20.8096
|  | 632.063 | -46.6826 | -35.0264 | -22.8584
|  | 636.0615 | -40.1611 | -43.5127 | -26.2451
|  | 640.06 | -44.9932 | -29.9287 | -31.9893
|  | 644.0585 | -53.7236 | -33.2432 | -27.6729
|  | 648.057 | -43.6982 | -35.3975 | -27.1338
|  | 652.0555 | -48.2022 | -41.6338 | -29.1514
|  | 656.054 | -44.1318 | -34.7685 | -25.0439
|  | 660.0525 | -50.919 | -39.9853 | -24.3389
|  | 664.051 | -47.9815 | -37.3565 | -31.6826
|  | 668.0495 | -47.1943 | -33.5772 | -28.8271
|  | 672.048 | -43.415 | -42.1787 | -22.0283
|  | 676.0465 | -43.3721 | -29.4697 | -23.2236
|  | 680.045 | -38.5029 | -52.3057 | -28.6182
|  | 684.0435 | -41.5361 | -28.2959 | -26.2783
|  | 688.042 | -43.6123 | -31.2061 | -27.4482
|  | 692.0405 | -48.6416 | -42.4072 | -35.9014
|  | 696.039 | -46.2998 | -35.1065 | -35.4092
|  | 700.0375 | -48.915 | -51.7353 | -31.751
|  | 704.036 | -40.206 | -36.042 | -33.2256
|  | 708.0345 | -44.456 | -38.4248 | -33.7998
|  | 712.033 | -51.669 | -35.6572 | -26.1279
|  | 716.0315 | -45.8643 | -33.4014 | -25.9717
|  | 720.03 | -54.3252 | -29.4092 | -25.7373
|  | 724.0285 | -46.1572 | -29.8389 | -28.1709
|  | 728.027 | -45.3545 | -45.4365 | -24.2783
|  | 732.0255 | -44.1201 | -46.2588 | -28.2139
|  | 736.024 | -53.376 | -35.2783 | -26.5615
|  | 740.0225 | -42.417 | -38.7803 | -35.9873
|  | 744.021 | -52.833 | -58.4658 | -32.0635
|  | 748.0195 | -54.5947 | -45.5147 | -26.4521
|  | 752.018 | -42.71 | -39.7764 | -25.6768
|  | 756.0165 | -45.294 | -39.8897 | -26.8447
|  | 760.015 | -52.0557 | -47.8486 | -24.6475
|  | 764.0135 | -47.1768 | -35.8545 | -23.2549
|  | 768.012 | -49.2627 | -48.0986 | -26.3955
|  | 772.0105 | -49.1807 | -40.6865 | -31.3135
|  | 776.009 | -36.2627 | -36.7256 | -23.0146
|  | 780.0075 | -52.3408 | -36.2373 | -25.4619
|  | 784.006 | -41.7022 | -33.581 | -28.9268
|  | 788.0045 | -59.7666 | -40.6045 | -24.583
|  | 792.003 | -48.0498 | -34.1338 | -32.1963
|  | 796.0015 | -51.2353 | -42.5928 | -38.1006
|  | 800 | -39.044 | -33.4736 | -20.6221

## Spectral Noise
|  | Frequency (MHz) | Noise Floor | Gain- Min | Gain- Max
|  | 0 | -101.5631 | -75.7644 | -81.0506
|  | 1.1594 | -104.9766 | -85.8861 | -85.8791
|  | 2.3188 | -105.0739 | -85.9822 | -85.8963
|  | 3.4783 | -105.1045 | -85.9926 | -85.9529
|  | 4.6377 | -105.0944 | -86.042 | -85.987
Product Raw Data |  | 5.7971 | -105.1426 | -86.1417 | -86.0642
Si Fiber-Coupled Avalanche Photodetector Spectral Noise |  | 6.9565 | -104.9907 | -86.214 | -86.1512
|  | 8.1159 | -104.8052 | -86.2894 | -86.2164
Item # | APD431A | 9.2754 | -104.6093 | -86.3436 | -86.2708
DISCLAIMER: Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 10.4348 | -104.5839 | -86.311 | -86.2709
|  | 11.5942 | -104.6094 | -86.3361 | -86.2937
|  | 12.7536 | -104.6406 | -86.4327 | -86.4535
|  | 13.913 | -104.5071 | -86.492 | -86.4437
|  | 15.0725 | -104.0491 | -86.4465 | -86.3956
|  | 16.2319 | -103.5598 | -86.3634 | -86.3581
This data may be used in publications. However, please cite Thorlabs as the source. |  | 17.3913 | -103.1975 | -86.3489 | -86.3518
|  | 18.5507 | -104.1302 | -86.6295 | -86.5673
|  | 19.7101 | -105.2728 | -86.8455 | -86.7906
Additional Information: |  | 20.8696 | -105.4429 | -86.7883 | -86.8085
|  | 22.029 | -105.6336 | -86.8077 | -86.7992
|  | 23.1884 | -105.5606 | -86.7721 | -86.8265
|  | 24.3478 | -105.9436 | -86.8356 | -86.8534
|  | 25.5072 | -105.8503 | -86.8181 | -86.8217
|  | 26.6667 | -106.0228 | -86.7854 | -86.7684
|  | 27.8261 | -106.1873 | -86.753 | -86.7684
|  | 28.9855 | -106.1855 | -86.7827 | -86.7442
|  | 30.1449 | -106.4688 | -86.8331 | -86.8334
|  | 31.3043 | -106.3252 | -86.7548 | -86.7524
|  | 32.4638 | -106.4228 | -86.7655 | -86.7057
|  | 33.6232 | -106.3349 | -86.6909 | -86.6673
|  | 34.7826 | -106.3291 | -86.65 | -86.63
|  | 35.942 | -106.5263 | -86.6479 | -86.6697
|  | 37.1014 | -106.397 | -86.6449 | -86.6684
|  | 38.2609 | -106.2806 | -86.5172 | -86.5014
|  | 39.4203 | -106.4529 | -86.5337 | -86.5448
|  | 40.5797 | -106.3427 | -86.5623 | -86.5549
|  | 41.7391 | -106.5035 | -86.5606 | -86.5275
|  | 42.8986 | -106.4145 | -86.5015 | -86.5166
|  | 44.058 | -106.405 | -86.4229 | -86.3762
|  | 45.2174 | -106.3897 | -86.3763 | -86.3495
|  | 46.3768 | -106.3332 | -86.3362 | -86.3186
|  | 47.5362 | -106.3321 | -86.3208 | -86.339
|  | 48.6957 | -106.3287 | -86.3683 | -86.3402
|  | 49.8551 | -106.3251 | -86.294 | -86.2594
|  | 51.0145 | -106.2718 | -86.1794 | -86.191
|  | 52.1739 | -106.2503 | -86.1434 | -86.1644
|  | 53.3333 | -106.2422 | -86.1267 | -86.0987
|  | 54.4928 | -106.2702 | -86.0926 | -86.125
|  | 55.6522 | -106.2149 | -86.0398 | -86.083
|  | 56.8116 | -105.6921 | -86.1443 | -86.107
|  | 57.971 | -105.4301 | -86.1089 | -86.1111
|  | 59.1304 | -105.6905 | -86.074 | -86.0726
|  | 60.2899 | -105.7668 | -86.0242 | -86.042
|  | 61.4493 | -105.7998 | -85.9993 | -86.0234
|  | 62.6087 | -106.0964 | -86 | -86.0355
|  | 63.7681 | -105.9736 | -85.8965 | -85.9121
|  | 64.9275 | -106.2125 | -85.8549 | -85.8862
|  | 66.087 | -106.2344 | -85.8078 | -85.8953
|  | 67.2464 | -106.3247 | -85.8216 | -85.8547
|  | 68.4058 | -106.4934 | -85.8176 | -85.8281
|  | 69.5652 | -106.3838 | -85.7097 | -85.7551
|  | 70.7246 | -106.5361 | -85.6421 | -85.6435
|  | 71.8841 | -106.2904 | -85.5666 | -85.5794
|  | 73.0435 | -106.4438 | -85.5188 | -85.5557
|  | 74.2029 | -106.515 | -85.5375 | -85.5404
|  | 75.3623 | -106.4654 | -85.4927 | -85.5232
|  | 76.5217 | -106.1751 | -85.3144 | -85.3352
|  | 77.6812 | -106.3054 | -85.2834 | -85.3091
|  | 78.8406 | -106.3906 | -85.2771 | -85.2714
|  | 80 | -106.3551 | -85.2701 | -85.2853
|  | 81.1594 | -106.4367 | -85.1634 | -85.2412
|  | 82.3188 | -106.3431 | -85.0797 | -85.1321
|  | 83.4783 | -106.3602 | -85.0195 | -85.079
|  | 84.6377 | -106.3645 | -84.9955 | -85.0212
|  | 85.7971 | -106.3057 | -84.9536 | -84.9734
|  | 86.9565 | -106.3244 | -84.8902 | -84.9498
|  | 88.1159 | -106.3036 | -84.8496 | -84.8876
|  | 89.2754 | -106.2493 | -84.7532 | -84.8219
|  | 90.4348 | -106.2173 | -84.6416 | -84.7417
|  | 91.5942 | -106.2059 | -84.6217 | -84.7117
|  | 92.7536 | -106.1478 | -84.6033 | -84.6615
|  | 93.913 | -106.1475 | -84.5274 | -84.6033
|  | 95.0725 | -106.1634 | -84.5825 | -84.5901
|  | 96.2319 | -106.3377 | -84.5477 | -84.6086
|  | 97.3913 | -106.323 | -84.4837 | -84.5827
|  | 98.5507 | -106.3479 | -84.4633 | -84.5347
|  | 99.7101 | -106.4158 | -84.3957 | -84.4941
|  | 100.8696 | -106.2903 | -84.3011 | -84.4308
|  | 102.029 | -106.3139 | -84.2354 | -84.3437
|  | 103.1884 | -106.2689 | -84.1523 | -84.3057
|  | 104.3478 | -106.2636 | -84.1722 | -84.2426
|  | 105.5072 | -106.3144 | -84.1169 | -84.1968
|  | 106.6667 | -106.284 | -84.101 | -84.1861
|  | 107.8261 | -106.1754 | -83.9931 | -84.1076
|  | 108.9855 | -106.1827 | -83.8754 | -83.9769
|  | 110.1449 | -106.1615 | -83.8559 | -83.9477
|  | 111.3043 | -106.1401 | -83.8154 | -83.9306
|  | 112.4638 | -106.138 | -83.782 | -83.9257
|  | 113.6232 | -105.8168 | -83.718 | -83.8794
|  | 114.7826 | -105.2752 | -83.8113 | -83.9538
|  | 115.942 | -105.4058 | -83.7683 | -83.8735
|  | 117.1014 | -105.6212 | -83.7206 | -83.8331
|  | 118.2609 | -105.5493 | -83.667 | -83.8182
|  | 119.4203 | -105.8973 | -83.6173 | -83.7829
|  | 120.5797 | -105.8539 | -83.5843 | -83.7443
|  | 121.7391 | -105.956 | -83.472 | -83.6445
|  | 122.8986 | -106.1394 | -83.4496 | -83.6143
|  | 124.058 | -106.1119 | -83.4379 | -83.6214
|  | 125.2174 | -106.4273 | -83.4411 | -83.5946
|  | 126.3768 | -106.3133 | -83.3851 | -83.5492
|  | 127.5362 | -106.3938 | -83.2676 | -83.4621
|  | 128.6957 | -106.2974 | -83.1732 | -83.3815
|  | 129.8551 | -106.2601 | -83.1092 | -83.3062
|  | 131.0145 | -106.482 | -83.1494 | -83.2869
|  | 132.1739 | -106.3667 | -83.08 | -83.2537
|  | 133.3333 | -106.252 | -82.9761 | -83.123
|  | 134.4928 | -106.4158 | -82.9147 | -83.0864
|  | 135.6522 | -106.3567 | -82.8524 | -83.0627
|  | 136.8116 | -106.4835 | -82.8187 | -83.007
|  | 137.971 | -106.4009 | -82.7358 | -82.9351
|  | 139.1304 | -106.3363 | -82.6929 | -82.8687
|  | 140.2899 | -106.353 | -82.5774 | -82.7967
|  | 141.4493 | -106.3043 | -82.5226 | -82.6898
|  | 142.6087 | -106.2987 | -82.4823 | -82.6555
|  | 143.7681 | -106.332 | -82.4839 | -82.6973
|  | 144.9275 | -106.2968 | -82.4026 | -82.5694
|  | 146.087 | -106.2148 | -82.3059 | -82.5122
|  | 147.2464 | -106.1774 | -82.2207 | -82.4689
|  | 148.4058 | -106.1246 | -82.1996 | -82.4104
|  | 149.5652 | -106.1538 | -82.1567 | -82.3967
|  | 150.7246 | -106.1219 | -82.1141 | -82.2851
|  | 151.8841 | -106.1557 | -82.0739 | -82.2618
|  | 153.0435 | -106.3171 | -82.0768 | -82.2749
|  | 154.2029 | -106.3926 | -82.0537 | -82.2839
|  | 155.3623 | -106.3572 | -82.0349 | -82.2383
|  | 156.5217 | -106.516 | -81.9843 | -82.1713
|  | 157.6812 | -106.3892 | -81.884 | -82.1658
|  | 158.8406 | -106.3843 | -81.7655 | -82.0497
|  | 160 | -106.2999 | -81.7397 | -82.0108
|  | 161.1594 | -106.2757 | -81.6699 | -81.9079
|  | 162.3188 | -106.303 | -81.6853 | -81.9045
|  | 163.4783 | -106.2845 | -81.5932 | -81.8517
|  | 164.6377 | -106.2358 | -81.487 | -81.7481
|  | 165.7971 | -106.2003 | -81.444 | -81.705
|  | 166.9565 | -106.1466 | -81.3932 | -81.6331
|  | 168.1159 | -106.1631 | -81.3405 | -81.6168
|  | 169.2754 | -106.1795 | -81.2886 | -81.557
|  | 170.4348 | -106.0973 | -81.2508 | -81.5021
|  | 171.5942 | -106.1989 | -81.2461 | -81.571
|  | 172.7536 | -106.395 | -81.2237 | -81.5249
|  | 173.913 | -106.2914 | -81.2183 | -81.4952
|  | 175.0725 | -106.4288 | -81.1728 | -81.4858
|  | 176.2319 | -106.3952 | -81.1084 | -81.4126
|  | 177.3913 | -106.2547 | -81.03 | -81.3348
|  | 178.5507 | -106.3483 | -80.9472 | -81.2744
|  | 179.7101 | -106.2622 | -80.9305 | -81.1946
|  | 180.8696 | -106.3021 | -80.8872 | -81.2131
|  | 182.029 | -106.2797 | -80.8335 | -81.1915
|  | 183.1884 | -106.2802 | -80.811 | -81.1479
|  | 184.3478 | -106.1878 | -80.7002 | -81.0316
|  | 185.5072 | -106.197 | -80.6408 | -80.9848
|  | 186.6667 | -106.1724 | -80.5838 | -80.9204
|  | 187.8261 | -106.1918 | -80.6068 | -80.8739
|  | 188.9855 | -106.1444 | -80.534 | -80.8817
|  | 190.1449 | -106.1354 | -80.523 | -80.8634
|  | 191.3043 | -106.3433 | -80.579 | -80.9083
|  | 192.4638 | -106.3789 | -80.5383 | -80.8854
|  | 193.6232 | -106.3612 | -80.517 | -80.9046
|  | 194.7826 | -106.497 | -80.4661 | -80.862
|  | 195.942 | -106.3553 | -80.4219 | -80.7642
|  | 197.1014 | -106.443 | -80.3324 | -80.7099
|  | 198.2609 | -106.3361 | -80.2845 | -80.5858
|  | 199.4203 | -106.2959 | -80.2131 | -80.6089
|  | 200.5797 | -106.3302 | -80.232 | -80.591
|  | 201.7391 | -106.3069 | -80.1747 | -80.5797
|  | 202.8986 | -106.2787 | -80.1216 | -80.4692
|  | 204.058 | -106.2141 | -80.0583 | -80.3991
|  | 205.2174 | -106.1711 | -79.9996 | -80.3538
|  | 206.3768 | -106.2056 | -80.0007 | -80.3548
|  | 207.5362 | -106.1916 | -79.9787 | -80.3225
|  | 208.6957 | -106.1114 | -79.9109 | -80.2621
|  | 209.8551 | -106.2515 | -79.9635 | -80.3263
|  | 211.0145 | -106.459 | -79.9528 | -80.3647
|  | 212.1739 | -106.3942 | -79.9817 | -80.3226
|  | 213.3333 | -106.5152 | -79.938 | -80.3005
|  | 214.4928 | -106.4307 | -79.8119 | -80.2275
|  | 215.6522 | -106.3782 | -79.7754 | -80.1761
|  | 216.8116 | -106.3939 | -79.6991 | -80.0872
|  | 217.971 | -106.3067 | -79.6475 | -80.0297
|  | 219.1304 | -106.4027 | -79.6273 | -80.0488
|  | 220.2899 | -106.3403 | -79.6269 | -80.021
|  | 221.4493 | -106.3653 | -79.5916 | -79.9649
|  | 222.6087 | -106.2742 | -79.4845 | -79.8594
|  | 223.7681 | -106.2478 | -79.406 | -79.8168
|  | 224.9275 | -106.1993 | -79.4118 | -79.8026
|  | 226.087 | -106.2317 | -79.3941 | -79.7663
|  | 227.2464 | -106.215 | -79.3411 | -79.7355
|  | 228.4058 | -106.2537 | -79.3389 | -79.7482
|  | 229.5652 | -106.5146 | -79.3449 | -79.7823
|  | 230.7246 | -106.4902 | -79.3175 | -79.713
|  | 231.8841 | -106.5115 | -79.3219 | -79.7336
|  | 233.0435 | -106.5405 | -79.2709 | -79.7118
|  | 234.2029 | -106.4492 | -79.158 | -79.5852
|  | 235.3623 | -106.49 | -79.0955 | -79.5152
|  | 236.5217 | -106.3621 | -79.0603 | -79.4818
|  | 237.6812 | -106.4075 | -79.0016 | -79.4586
|  | 238.8406 | -106.4168 | -78.9803 | -79.4008
|  | 240 | -106.3534 | -78.9579 | -79.3524
|  | 241.1594 | -106.3281 | -78.8541 | -79.2726
|  | 242.3188 | -106.3046 | -78.7321 | -79.1915
|  | 243.4783 | -106.2751 | -78.7518 | -79.139
|  | 244.6377 | -106.2707 | -78.7134 | -79.1174
|  | 245.7971 | -106.2396 | -78.6753 | -79.0654
|  | 246.9565 | -106.1946 | -78.6189 | -79.0603
|  | 248.1159 | -106.4149 | -78.6658 | -79.0989
|  | 249.2754 | -106.5361 | -78.6325 | -79.0741
|  | 250.4348 | -106.491 | -78.6453 | -79.0591
|  | 251.5942 | -106.6217 | -78.5884 | -79.0508
|  | 252.7536 | -106.504 | -78.5459 | -78.9682
|  | 253.913 | -106.5048 | -78.4717 | -78.902
|  | 255.0725 | -106.4564 | -78.408 | -78.8018
|  | 256.2319 | -106.4108 | -78.3644 | -78.7896
|  | 257.3913 | -106.4307 | -78.3347 | -78.7354
|  | 258.5507 | -106.4639 | -78.3221 | -78.7084
|  | 259.7101 | -106.3914 | -78.239 | -78.6593
|  | 260.8696 | -106.3084 | -78.1878 | -78.6174
|  | 262.029 | -106.3524 | -78.1019 | -78.546
|  | 263.1884 | -106.2636 | -78.0963 | -78.5405
|  | 264.3478 | -106.3368 | -78.0143 | -78.5116
|  | 265.5072 | -106.2751 | -78.0264 | -78.4648
|  | 266.6667 | -106.3281 | -78.0317 | -78.4465
|  | 267.8261 | -106.5439 | -78.0753 | -78.5113
|  | 268.9855 | -106.5696 | -78.0889 | -78.4969
|  | 270.1449 | -106.5299 | -78.1026 | -78.4857
|  | 271.3043 | -106.6072 | -78.0477 | -78.471
|  | 272.4638 | -106.4942 | -77.9898 | -78.4013
|  | 273.6232 | -106.5463 | -77.9344 | -78.319
|  | 274.7826 | -106.4481 | -77.8475 | -78.2536
|  | 275.942 | -106.4429 | -77.8691 | -78.2271
|  | 277.1014 | -106.5015 | -77.8535 | -78.281
|  | 278.2609 | -106.4838 | -77.8111 | -78.2512
|  | 279.4203 | -106.391 | -77.7287 | -78.1656
|  | 280.5797 | -106.3746 | -77.6792 | -78.1048
|  | 281.7391 | -106.3329 | -77.6775 | -78.0485
|  | 282.8986 | -106.3415 | -77.6246 | -78.0562
|  | 284.058 | -106.3252 | -77.655 | -78.0367
|  | 285.2174 | -106.3152 | -77.6437 | -78.0427
|  | 286.3768 | -106.4993 | -77.7244 | -78.0966
|  | 287.5362 | -106.6095 | -77.7295 | -78.1477
|  | 288.6957 | -106.5316 | -77.7154 | -78.128
|  | 289.8551 | -106.6968 | -77.7058 | -78.1292
|  | 291.0145 | -106.5717 | -77.6541 | -78.0395
|  | 292.1739 | -106.5605 | -77.5656 | -77.9743
|  | 293.3333 | -106.5043 | -77.5187 | -77.9333
|  | 294.4928 | -106.5528 | -77.5684 | -77.9343
|  | 295.6522 | -106.5211 | -77.5208 | -77.9141
|  | 296.8116 | -106.511 | -77.516 | -77.9171
|  | 297.971 | -106.4838 | -77.4394 | -77.7875
|  | 299.1304 | -106.4279 | -77.3591 | -77.7694
|  | 300.2899 | -106.4121 | -77.3541 | -77.7198
|  | 301.4493 | -106.3875 | -77.3028 | -77.7061
|  | 302.6087 | -106.3715 | -77.3115 | -77.7236
|  | 303.7681 | -106.347 | -77.2878 | -77.6279
|  | 304.9275 | -106.449 | -77.3886 | -77.7156
|  | 306.087 | -106.667 | -77.41 | -77.8127
|  | 307.2464 | -106.5955 | -77.4043 | -77.7489
|  | 308.4058 | -106.7096 | -77.3757 | -77.7644
|  | 309.5652 | -106.6805 | -77.3198 | -77.6672
|  | 310.7246 | -106.6164 | -77.2242 | -77.6103
|  | 311.8841 | -106.6052 | -77.2135 | -77.5313
|  | 313.0435 | -106.5473 | -77.1722 | -77.4883
|  | 314.2029 | -106.5506 | -77.2013 | -77.5315
|  | 315.3623 | -106.5263 | -77.2013 | -77.4962
|  | 316.5217 | -106.5439 | -77.0903 | -77.4206
|  | 317.6812 | -106.4618 | -77.0631 | -77.365
|  | 318.8406 | -106.4704 | -77.0033 | -77.2622
|  | 320 | -106.4094 | -76.9331 | -77.2828
|  | 321.1594 | -106.4291 | -76.973 | -77.2931
|  | 322.3188 | -106.4205 | -76.9339 | -77.2499
|  | 323.4783 | -106.3658 | -76.9524 | -77.2101
|  | 324.6377 | -106.6044 | -76.9987 | -77.2413
|  | 325.7971 | -106.7079 | -77.0305 | -77.3106
|  | 326.9565 | -106.6521 | -77.0146 | -77.2958
|  | 328.1159 | -106.7941 | -76.9732 | -77.2335
|  | 329.2754 | -106.6548 | -76.9659 | -77.1752
|  | 330.4348 | -106.682 | -76.8607 | -77.1635
|  | 331.5942 | -106.6512 | -76.8572 | -77.0739
|  | 332.7536 | -106.6249 | -76.8646 | -77.0678
|  | 333.913 | -106.6312 | -76.8549 | -77.0351
|  | 335.0725 | -106.6063 | -76.8575 | -77.0256
|  | 336.2319 | -106.5547 | -76.8008 | -76.9957
|  | 337.3913 | -106.4828 | -76.7268 | -76.9244
|  | 338.5507 | -106.4841 | -76.7127 | -76.9365
|  | 339.7101 | -106.4637 | -76.7364 | -76.8778
|  | 340.8696 | -106.479 | -76.7412 | -76.9175
|  | 342.029 | -106.3823 | -76.7281 | -76.904
|  | 343.1884 | -106.5513 | -76.8385 | -76.9421
|  | 344.3478 | -106.7799 | -76.8663 | -77.0054
|  | 345.5072 | -106.748 | -76.8636 | -77.0064
|  | 346.6667 | -106.8025 | -76.9344 | -76.9986
|  | 347.8261 | -106.7837 | -76.8944 | -76.9552
|  | 348.9855 | -106.6795 | -76.8018 | -76.8903
|  | 350.1449 | -106.7142 | -76.7936 | -76.8702
|  | 351.3043 | -106.6307 | -76.7967 | -76.8595
|  | 352.4638 | -106.6505 | -76.7655 | -76.9196
|  | 353.6232 | -106.6444 | -76.825 | -76.903
|  | 354.7826 | -106.6408 | -76.8641 | -76.8406
|  | 355.942 | -106.5687 | -76.7716 | -76.7929
|  | 357.1014 | -106.5238 | -76.7528 | -76.7688
|  | 358.2609 | -106.5565 | -76.7575 | -76.758
|  | 359.4203 | -106.5232 | -76.7489 | -76.7451
|  | 360.5797 | -106.4906 | -76.7761 | -76.7399
|  | 361.7391 | -106.4843 | -76.8476 | -76.8028
|  | 362.8986 | -106.7463 | -76.9181 | -76.893
|  | 364.058 | -106.7819 | -76.9607 | -76.899
|  | 365.2174 | -106.7841 | -77.0126 | -76.9202
|  | 366.3768 | -106.9026 | -76.9767 | -76.9191
|  | 367.5362 | -106.7124 | -76.9466 | -76.8117
|  | 368.6957 | -106.7681 | -76.9039 | -76.796
|  | 369.8551 | -106.6886 | -76.8923 | -76.7387
|  | 371.0145 | -106.6938 | -76.9439 | -76.7867
|  | 372.1739 | -106.7185 | -76.9787 | -76.7596
|  | 373.3333 | -106.7166 | -77.0036 | -76.7559
|  | 374.4928 | -106.656 | -76.9152 | -76.7268
|  | 375.6522 | -106.6281 | -76.889 | -76.6335
|  | 376.8116 | -106.5834 | -76.8584 | -76.6731
|  | 377.971 | -106.6311 | -76.8827 | -76.6307
|  | 379.1304 | -106.5881 | -76.8962 | -76.6287
|  | 380.2899 | -106.5033 | -76.9172 | -76.6007
|  | 381.4493 | -106.638 | -77.0292 | -76.7543
|  | 382.6087 | -106.8081 | -77.0749 | -76.7954
|  | 383.7681 | -106.7496 | -77.1824 | -76.8589
|  | 384.9275 | -106.8724 | -77.2131 | -76.8608
|  | 386.087 | -106.8431 | -77.2371 | -76.8857
|  | 387.2464 | -106.7511 | -77.2489 | -76.8546
|  | 388.4058 | -106.7919 | -77.2585 | -76.8233
|  | 389.5652 | -106.7405 | -77.278 | -76.815
|  | 390.7246 | -106.7505 | -77.3771 | -76.8798
|  | 391.8841 | -106.7536 | -77.4394 | -76.9005
|  | 393.0435 | -106.6933 | -77.4694 | -76.9305
|  | 394.2029 | -106.6314 | -77.4994 | -76.9186
|  | 395.3623 | -106.6309 | -77.4785 | -76.9467
|  | 396.5217 | -106.5957 | -77.5961 | -76.9966
|  | 397.6812 | -106.5969 | -77.7133 | -77.0637
|  | 398.8406 | -106.5844 | -77.7414 | -77.1256
|  | 400 | -106.5741 | -77.9226 | -77.2586
|  | 401.1594 | -106.7651 | -78.1137 | -77.397
|  | 402.3188 | -106.8618 | -78.2213 | -77.5401
|  | 403.4783 | -106.8597 | -78.3476 | -77.5854
|  | 404.6377 | -106.9341 | -78.4434 | -77.6774
|  | 405.7971 | -106.762 | -78.514 | -77.7473
|  | 406.9565 | -106.8077 | -78.5619 | -77.8085
|  | 408.1159 | -106.7681 | -78.6385 | -77.8781
|  | 409.2754 | -106.7838 | -78.8187 | -78.0279
|  | 410.4348 | -106.8097 | -78.9544 | -78.1288
|  | 411.5942 | -106.756 | -79.0949 | -78.1746
|  | 412.7536 | -106.7077 | -79.1817 | -78.2439
|  | 413.913 | -106.6441 | -79.2439 | -78.3673
|  | 415.0725 | -106.6073 | -79.417 | -78.4776
|  | 416.2319 | -106.6324 | -79.5534 | -78.5793
|  | 417.3913 | -106.6351 | -79.6951 | -78.6956
|  | 418.5507 | -106.524 | -79.8248 | -78.8155
|  | 419.7101 | -106.727 | -80.1078 | -79.0943
|  | 420.8696 | -106.9308 | -80.284 | -79.2379
|  | 422.029 | -106.8202 | -80.4413 | -79.3717
|  | 423.1884 | -106.9738 | -80.581 | -79.5356
|  | 424.3478 | -106.891 | -80.7012 | -79.609
|  | 425.5072 | -106.8623 | -80.7857 | -79.6832
|  | 426.6667 | -106.855 | -80.9009 | -79.7287
|  | 427.8261 | -106.7838 | -81.0276 | -79.9052
|  | 428.9855 | -106.8266 | -81.1827 | -80.0121
|  | 430.1449 | -106.8219 | -81.3095 | -80.1142
|  | 431.3043 | -106.7982 | -81.3939 | -80.1919
|  | 432.4638 | -106.7209 | -81.4198 | -80.2452
|  | 433.6232 | -106.6333 | -81.528 | -80.3083
|  | 434.7826 | -106.6552 | -81.5911 | -80.3642
|  | 435.942 | -106.6972 | -81.6986 | -80.41
|  | 437.1014 | -106.6356 | -81.7411 | -80.4461
|  | 438.2609 | -106.6774 | -81.8412 | -80.5497
|  | 439.4203 | -106.9484 | -81.9378 | -80.5714
|  | 440.5797 | -106.9089 | -81.932 | -80.6766
|  | 441.7391 | -106.9493 | -81.9886 | -80.6802
|  | 442.8986 | -106.987 | -81.9575 | -80.6482
|  | 444.058 | -106.873 | -81.8943 | -80.55
|  | 445.2174 | -106.9255 | -81.8529 | -80.5293
|  | 446.3768 | -106.8114 | -81.8083 | -80.4836
|  | 447.5362 | -106.8146 | -81.838 | -80.4722
|  | 448.6957 | -106.8739 | -81.8525 | -80.507
|  | 449.8551 | -106.7901 | -81.8684 | -80.5102
|  | 451.0145 | -106.7907 | -81.8359 | -80.4473
|  | 452.1739 | -106.7126 | -81.809 | -80.4295
|  | 453.3333 | -106.6856 | -81.8291 | -80.4449
|  | 454.4928 | -106.6915 | -81.8953 | -80.4765
|  | 455.6522 | -106.6618 | -81.943 | -80.4935
|  | 456.8116 | -106.6111 | -81.9943 | -80.5522
|  | 457.971 | -106.8317 | -82.1613 | -80.6738
|  | 459.1304 | -106.9297 | -82.3023 | -80.763
|  | 460.2899 | -106.8873 | -82.3741 | -80.8937
|  | 461.4493 | -107.0332 | -82.4679 | -80.9205
|  | 462.6087 | -106.8493 | -82.5194 | -81.0089
|  | 463.7681 | -106.8669 | -82.5721 | -81.0039
|  | 464.9275 | -106.8605 | -82.6876 | -81.1223
|  | 466.087 | -106.7902 | -82.8009 | -81.194
|  | 467.2464 | -106.8543 | -82.9861 | -81.3426
|  | 468.4058 | -106.7923 | -83.1239 | -81.4785
|  | 469.5652 | -106.7967 | -83.1798 | -81.536
|  | 470.7246 | -106.7811 | -83.2671 | -81.6293
|  | 471.8841 | -106.7043 | -83.4033 | -81.7327
|  | 473.0435 | -106.6627 | -83.5354 | -81.8046
|  | 474.2029 | -106.7315 | -83.659 | -81.9482
|  | 475.3623 | -106.644 | -83.7925 | -82.1101
|  | 476.5217 | -106.6548 | -83.9838 | -82.3143
|  | 477.6812 | -106.8548 | -84.2052 | -82.5618
|  | 478.8406 | -106.8488 | -84.3471 | -82.6809
|  | 480 | -106.8636 | -84.4894 | -82.7407
|  | 481.1594 | -106.9262 | -84.5443 | -82.9153
|  | 482.3188 | -106.8113 | -84.5622 | -82.918
|  | 483.4783 | -106.8212 | -84.5977 | -82.9643
|  | 484.6377 | -106.8015 | -84.6483 | -83.0626
|  | 485.7971 | -106.7629 | -84.734 | -83.1636
|  | 486.9565 | -106.8085 | -84.8173 | -83.2179
|  | 488.1159 | -106.7406 | -84.8693 | -83.2937
|  | 489.2754 | -106.6934 | -84.8921 | -83.3231
|  | 490.4348 | -106.6201 | -84.8599 | -83.355
|  | 491.5942 | -106.639 | -84.939 | -83.4452
|  | 492.7536 | -106.6362 | -84.9244 | -83.5834
|  | 493.913 | -106.6407 | -85.053 | -83.6453
|  | 495.0725 | -106.5999 | -85.1293 | -83.735
|  | 496.2319 | -106.65 | -85.267 | -83.979
|  | 497.3913 | -106.797 | -85.4283 | -84.1798
|  | 498.5507 | -106.7476 | -85.5701 | -84.2915
|  | 499.7101 | -106.8845 | -85.7367 | -84.4506
|  | 500.8696 | -106.7662 | -85.8525 | -84.5789
|  | 502.029 | -106.7303 | -86.0224 | -84.7472
|  | 503.1884 | -106.6972 | -86.1692 | -84.946
|  | 504.3478 | -106.6806 | -86.4093 | -85.2212
|  | 505.5072 | -106.7566 | -86.697 | -85.4933
|  | 506.6667 | -106.7059 | -87.0128 | -85.8292
|  | 507.8261 | -106.6653 | -87.2809 | -86.0639
|  | 508.9855 | -106.6184 | -87.6008 | -86.4071
|  | 510.1449 | -106.5764 | -87.9195 | -86.6876
|  | 511.3043 | -106.5512 | -88.2697 | -87.064
|  | 512.4638 | -106.585 | -88.659 | -87.4803
|  | 513.6232 | -106.5424 | -89.0336 | -87.8876
|  | 514.7826 | -106.5125 | -89.4141 | -88.3014
|  | 515.942 | -106.7674 | -89.8959 | -88.7219
|  | 517.1014 | -106.7035 | -90.2914 | -89.1266
|  | 518.2609 | -106.7624 | -90.7507 | -89.6007
|  | 519.4203 | -106.7875 | -91.1577 | -89.9908
|  | 520.5797 | -106.7149 | -91.5143 | -90.3651
|  | 521.7391 | -106.6883 | -91.9363 | -90.8024
|  | 522.8986 | -106.6564 | -92.3729 | -91.2101
|  | 524.058 | -106.6684 | -92.8598 | -91.6663
|  | 525.2174 | -106.6689 | -93.3145 | -92.1509
|  | 526.3768 | -106.6281 | -93.7187 | -92.5908
|  | 527.5362 | -106.5379 | -94.1528 | -93.0093
|  | 528.6957 | -106.5064 | -94.5533 | -93.3813
|  | 529.8551 | -106.5082 | -95.0334 | -93.9288
|  | 531.0145 | -106.5265 | -95.4713 | -94.3889
|  | 532.1739 | -106.4958 | -95.934 | -94.8939
|  | 533.3333 | -106.4314 | -96.3435 | -95.3223
|  | 534.4928 | -106.6112 | -96.8425 | -95.7877
|  | 535.6522 | -106.7043 | -97.4144 | -96.389
|  | 536.8116 | -106.6726 | -97.914 | -96.8762
|  | 537.971 | -106.7339 | -98.388 | -97.4862
|  | 539.1304 | -106.6128 | -98.8464 | -97.896
|  | 540.2899 | -106.6268 | -99.3669 | -98.4191
|  | 541.4493 | -106.5921 | -99.832 | -98.9809
|  | 542.6087 | -106.5647 | -100.3556 | -99.4652
|  | 543.7681 | -106.6174 | -100.8413 | -100.013
|  | 544.9275 | -106.5049 | -101.2983 | -100.5671
|  | 546.087 | -106.4998 | -101.7715 | -101.0858
|  | 547.2464 | -106.4542 | -102.1951 | -101.4967
|  | 548.4058 | -106.4445 | -102.6369 | -102.0537
|  | 549.5652 | -106.4455 | -103.0777 | -102.5051
|  | 550.7246 | -106.4442 | -103.5202 | -102.9901
|  | 551.8841 | -106.347 | -103.8437 | -103.4016
|  | 553.0435 | -106.3617 | -104.2719 | -103.8427
|  | 554.2029 | -106.5638 | -104.6825 | -104.3328
|  | 555.3623 | -106.5017 | -104.9605 | -104.6619
|  | 556.5217 | -106.5688 | -105.2836 | -104.9992
|  | 557.6812 | -106.5724 | -105.5151 | -105.2403
|  | 558.8406 | -106.4439 | -105.6266 | -105.4075
|  | 560 | -106.5058 | -105.7557 | -105.5597
|  | 561.1594 | -106.3841 | -105.8332 | -105.6968
|  | 562.3188 | -106.4771 | -106.0008 | -105.8786
|  | 563.4783 | -106.4253 | -106.0644 | -105.9759
|  | 564.6377 | -106.4061 | -106.1256 | -106.0579
|  | 565.7971 | -106.343 | -106.1337 | -106.0534
|  | 566.9565 | -106.2946 | -106.1548 | -106.1236
|  | 568.1159 | -106.2454 | -106.153 | -106.1262
|  | 569.2754 | -106.2695 | -106.2162 | -106.1629
|  | 570.4348 | -106.293 | -106.2258 | -106.2203
|  | 571.5942 | -106.2095 | -106.1714 | -106.1996
|  | 572.7536 | -106.3092 | -106.2962 | -106.3433
|  | 573.913 | -106.3944 | -106.4101 | -106.3984
|  | 575.0725 | -106.3389 | -106.3473 | -106.3316
|  | 576.2319 | -106.4547 | -106.4508 | -106.4697
|  | 577.3913 | -106.3385 | -106.2872 | -106.3233
|  | 578.5507 | -106.3612 | -106.3518 | -106.3087
|  | 579.7101 | -106.2697 | -106.3376 | -106.2912
|  | 580.8696 | -106.251 | -106.3182 | -106.2731
|  | 582.029 | -106.2615 | -106.3423 | -106.2124
|  | 583.1884 | -106.2709 | -106.2828 | -106.1522
|  | 584.3478 | -106.2525 | -106.1856 | -106.1729
|  | 585.5072 | -106.1779 | -106.1733 | -106.2164
|  | 586.6667 | -106.1603 | -106.1102 | -106.1337
|  | 587.8261 | -106.1219 | -106.0797 | -106.1202
|  | 588.9855 | -106.1595 | -106.0843 | -106.121
|  | 590.1449 | -106.0656 | -106.0939 | -106.0705
|  | 591.3043 | -106.0619 | -106.1142 | -106.1217
|  | 592.4638 | -106.2549 | -106.2422 | -106.259
|  | 593.6232 | -106.1624 | -106.1977 | -106.1839
|  | 594.7826 | -106.2758 | -106.332 | -106.2993
|  | 595.942 | -106.2382 | -106.2634 | -106.2874
|  | 597.1014 | -106.182 | -106.2057 | -106.1869
|  | 598.2609 | -106.1637 | -106.1738 | -106.1895
|  | 599.4203 | -106.128 | -106.1455 | -106.1436
|  | 600.5797 | -106.1458 | -106.133 | -106.1633
|  | 601.7391 | -106.1381 | -106.1719 | -106.174
|  | 602.8986 | -106.1446 | -106.1201 | -106.1472
|  | 604.058 | -106.0741 | -106.0883 | -106.0825
|  | 605.2174 | -106.0149 | -106.063 | -106.0061
|  | 606.3768 | -106.0222 | -106.0314 | -106.0388
|  | 607.5362 | -106.0247 | -106.0713 | -106.0131
|  | 608.6957 | -105.9717 | -106.0036 | -106.0032
|  | 609.8551 | -105.8988 | -105.8866 | -105.8961
|  | 611.0145 | -106.0599 | -106.0969 | -106.1134
|  | 612.1739 | -106.1066 | -106.0972 | -106.1187
|  | 613.3333 | -106.1427 | -106.0927 | -106.1001
|  | 614.4928 | -106.2467 | -106.1785 | -106.2018
|  | 615.6522 | -106.0517 | -106.0154 | -106.0592
|  | 616.8116 | -106.1458 | -106.0828 | -106.1018
|  | 617.971 | -106.0251 | -106.0096 | -106.0171
|  | 619.1304 | -106.0321 | -106.0545 | -106.0607
|  | 620.2899 | -106.0758 | -106.0488 | -106.0133
|  | 621.4493 | -106.0087 | -106.0653 | -106.047
|  | 622.6087 | -105.9681 | -106.0003 | -105.9848
|  | 623.7681 | -105.9263 | -105.9546 | -105.9594
|  | 624.9275 | -105.9241 | -105.9444 | -105.9351
|  | 626.087 | -105.942 | -105.8992 | -105.9588
|  | 627.2464 | -105.9303 | -105.9571 | -105.948
|  | 628.4058 | -105.8554 | -105.8178 | -105.828
|  | 629.5652 | -105.8998 | -105.9391 | -105.9003
|  | 630.7246 | -106.0904 | -106.0613 | -106.0734
|  | 631.8841 | -106.0064 | -105.992 | -105.966
|  | 633.0435 | -106.1316 | -106.1604 | -106.1661
|  | 634.2029 | -106.0158 | -106.0245 | -106.0789
|  | 635.3623 | -106.0243 | -106.053 | -106.043
|  | 636.5217 | -105.9993 | -106.0193 | -106.0065
|  | 637.6812 | -105.9936 | -105.9361 | -105.9384
|  | 638.8406 | -105.992 | -106.0015 | -106.0099
|  | 640 | -105.9352 | -105.9659 | -105.9949
|  | 641.1594 | -105.9482 | -105.9345 | -105.9689
|  | 642.3188 | -105.8323 | -105.8902 | -105.8895
|  | 643.4783 | -105.8382 | -105.8838 | -105.8671
|  | 644.6377 | -105.7875 | -105.8066 | -105.8283
|  | 645.7971 | -105.8493 | -105.8414 | -105.8689
|  | 646.9565 | -105.7549 | -105.7756 | -105.7848
|  | 648.1159 | -105.7388 | -105.7386 | -105.7725
|  | 649.2754 | -105.9816 | -105.9123 | -105.9558
|  | 650.4348 | -105.9176 | -106.013 | -105.9744
|  | 651.5942 | -105.9385 | -105.9798 | -105.9681
|  | 652.7536 | -106.046 | -106.0415 | -106.0728
|  | 653.913 | -105.8687 | -105.9218 | -105.9245
|  | 655.0725 | -105.8981 | -105.9795 | -105.9818
|  | 656.2319 | -105.8684 | -105.8662 | -105.9286
|  | 657.3913 | -105.8362 | -105.87 | -105.8822
|  | 658.5507 | -105.8593 | -105.872 | -105.931
|  | 659.7101 | -105.8145 | -105.8698 | -105.8542
|  | 660.8696 | -105.7803 | -105.7981 | -105.8183
|  | 662.029 | -105.7221 | -105.7335 | -105.7881
|  | 663.1884 | -105.7133 | -105.7331 | -105.7166
|  | 664.3478 | -105.706 | -105.7388 | -105.7524
|  | 665.5072 | -105.7116 | -105.7278 | -105.7537
|  | 666.6667 | -105.6585 | -105.6417 | -105.6869
|  | 667.8261 | -105.5863 | -105.6833 | -105.6799
|  | 668.9855 | -105.7931 | -105.7975 | -105.8623
|  | 670.1449 | -105.8343 | -105.8432 | -105.8665
|  | 671.3043 | -105.8116 | -105.8298 | -105.8424
|  | 672.4638 | -105.9155 | -105.9293 | -105.9418
|  | 673.6232 | -105.747 | -105.8164 | -105.8112
|  | 674.7826 | -105.7986 | -105.8403 | -105.8142
|  | 675.942 | -105.7117 | -105.7454 | -105.7274
|  | 677.1014 | -105.7288 | -105.7396 | -105.7576
|  | 678.2609 | -105.7317 | -105.7634 | -105.7883
|  | 679.4203 | -105.7062 | -105.7302 | -105.7611
|  | 680.5797 | -105.6941 | -105.6636 | -105.6769
|  | 681.7391 | -105.6204 | -105.6142 | -105.6436
|  | 682.8986 | -105.5805 | -105.6642 | -105.6118
|  | 684.058 | -105.6032 | -105.5978 | -105.6301
|  | 685.2174 | -105.5983 | -105.5996 | -105.5929
|  | 686.3768 | -105.5782 | -105.5844 | -105.5754
|  | 687.5362 | -105.7856 | -105.7871 | -105.7763
|  | 688.6957 | -105.7116 | -105.7181 | -105.7545
|  | 689.8551 | -105.7855 | -105.7908 | -105.8202
|  | 691.0145 | -105.7992 | -105.8237 | -105.8128
|  | 692.1739 | -105.7156 | -105.6733 | -105.741
|  | 693.3333 | -105.7043 | -105.7506 | -105.7541
|  | 694.4928 | -105.6337 | -105.6735 | -105.686
|  | 695.6522 | -105.699 | -105.6861 | -105.6844
|  | 696.8116 | -105.6794 | -105.6947 | -105.7221
|  | 697.971 | -105.6715 | -105.6473 | -105.6699
|  | 699.1304 | -105.5685 | -105.6393 | -105.6355
|  | 700.2899 | -105.56 | -105.6106 | -105.5601
|  | 701.4493 | -105.5541 | -105.5679 | -105.5656
|  | 702.6087 | -105.5028 | -105.5495 | -105.5756
|  | 703.7681 | -105.5002 | -105.5172 | -105.6007
|  | 704.9275 | -105.2582 | -105.2593 | -105.2517
|  | 706.087 | -104.6418 | -104.6392 | -104.6344
|  | 707.2464 | -104.7089 | -104.7969 | -104.7919
|  | 708.4058 | -105.0009 | -104.9732 | -105.0211
|  | 709.5652 | -104.9176 | -104.9421 | -104.9849
|  | 710.7246 | -105.2242 | -105.258 | -105.2747
|  | 711.8841 | -105.1823 | -105.2252 | -105.2052
|  | 713.0435 | -105.3094 | -105.3207 | -105.3457
|  | 714.2029 | -105.5148 | -105.5473 | -105.5391
|  | 715.3623 | -105.4424 | -105.4563 | -105.5133
|  | 716.5217 | -105.7259 | -105.7888 | -105.7901
|  | 717.6812 | -105.6387 | -105.6779 | -105.7327
|  | 718.8406 | -105.7473 | -105.77 | -105.7839
|  | 720 | -105.641 | -105.6358 | -105.6454
|  | 721.1594 | -105.6459 | -105.607 | -105.6716
|  | 722.3188 | -105.8279 | -105.8176 | -105.8487
|  | 723.4783 | -105.7796 | -105.7738 | -105.7657
|  | 724.6377 | -105.5481 | -105.5932 | -105.5589
|  | 725.7971 | -105.6955 | -105.6775 | -105.6801
|  | 726.9565 | -105.6132 | -105.6455 | -105.6329
|  | 728.1159 | -105.6831 | -105.7058 | -105.7208
|  | 729.2754 | -105.7212 | -105.7292 | -105.7323
|  | 730.4348 | -105.6127 | -105.6303 | -105.6813
|  | 731.5942 | -105.6242 | -105.6399 | -105.6774
|  | 732.7536 | -105.5733 | -105.5965 | -105.6043
|  | 733.913 | -105.6028 | -105.5763 | -105.6368
|  | 735.0725 | -105.5651 | -105.5845 | -105.6102
|  | 736.2319 | -105.5838 | -105.551 | -105.5769
|  | 737.3913 | -105.4981 | -105.5159 | -105.527
|  | 738.5507 | -105.4594 | -105.4864 | -105.4759
|  | 739.7101 | -105.4267 | -105.466 | -105.4644
|  | 740.8696 | -105.4374 | -105.41 | -105.4896
|  | 742.029 | -105.4063 | -105.4542 | -105.4352
|  | 743.1884 | -105.4289 | -105.4176 | -105.4186
|  | 744.3478 | -105.6238 | -105.6333 | -105.6266
|  | 745.5072 | -105.6988 | -105.7346 | -105.7653
|  | 746.6667 | -105.6335 | -105.647 | -105.6772
|  | 747.8261 | -105.7986 | -105.7785 | -105.7608
|  | 748.9855 | -105.6142 | -105.6529 | -105.6664
|  | 750.1449 | -105.6737 | -105.6799 | -105.6122
|  | 751.3043 | -105.5925 | -105.6165 | -105.6225
|  | 752.4638 | -105.5721 | -105.5666 | -105.575
|  | 753.6232 | -105.5976 | -105.5744 | -105.6061
|  | 754.7826 | -105.5747 | -105.5515 | -105.5537
|  | 755.942 | -105.5145 | -105.5135 | -105.5334
|  | 757.1014 | -105.4614 | -105.4468 | -105.4455
|  | 758.2609 | -105.449 | -105.455 | -105.4509
|  | 759.4203 | -105.4338 | -105.4262 | -105.4612
|  | 760.5797 | -105.4404 | -105.4297 | -105.446
|  | 761.7391 | -105.3566 | -105.3673 | -105.3636
|  | 762.8986 | -105.4426 | -105.4135 | -105.4475
|  | 764.058 | -105.6753 | -105.6469 | -105.6395
|  | 765.2174 | -105.5516 | -105.539 | -105.5856
|  | 766.3768 | -105.6835 | -105.639 | -105.6548
|  | 767.5362 | -105.6683 | -105.6311 | -105.6377
|  | 768.6957 | -105.5819 | -105.5285 | -105.5554
|  | 769.8551 | -105.607 | -105.5853 | -105.5884
|  | 771.0145 | -105.4897 | -105.513 | -105.5024
|  | 772.1739 | -105.4945 | -105.5465 | -105.5062
|  | 773.3333 | -105.5187 | -105.5045 | -105.5167
|  | 774.4928 | -105.4991 | -105.5058 | -105.5334
|  | 775.6522 | -105.4259 | -105.458 | -105.414
|  | 776.8116 | -105.4086 | -105.4267 | -105.3971
|  | 777.971 | -105.3383 | -105.3748 | -105.3617
|  | 779.1304 | -105.3704 | -105.3865 | -105.407
|  | 780.2899 | -105.3628 | -105.3511 | -105.3848
|  | 781.4493 | -105.3183 | -105.2987 | -105.3408
|  | 782.6087 | -105.5069 | -105.475 | -105.5405
|  | 783.7681 | -105.5292 | -105.5225 | -105.5521
|  | 784.9275 | -105.5559 | -105.5255 | -105.5145
|  | 786.087 | -105.6353 | -105.6348 | -105.6138
|  | 787.2464 | -105.5341 | -105.4988 | -105.4894
|  | 788.4058 | -105.523 | -105.5167 | -105.5207
|  | 789.5652 | -105.4467 | -105.458 | -105.4759
|  | 790.7246 | -105.428 | -105.46 | -105.5224
|  | 791.8841 | -105.4561 | -105.4721 | -105.5035
|  | 793.0435 | -105.4442 | -105.4414 | -105.4985
|  | 794.2029 | -105.3822 | -105.4099 | -105.4318
|  | 795.3623 | -105.3548 | -105.3836 | -105.343
|  | 796.5217 | -105.3582 | -105.3404 | -105.3549
|  | 797.6812 | -105.3436 | -105.3621 | -105.3488
|  | 798.8406 | -105.3011 | -105.3454 | -105.314
|  | 800 | -105.2408 | -105.2411 | -105.2648