## T189955
SN: | T189955
Item #: | TM600R5F1B
Item Description: | 1x2 600 µm Core 50:50 Multimode Fiber Optic Coupler, Low OH
Fiber Type: | Thorlabs FG600LEA
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 650
Insertion Loss (dB): | -4.29
Coupling Ratio (%): | 46.2
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 650
Insertion Loss (dB): | -3.62
Coupling Ratio (%): | 53.8