Thorlabs CHROLIS - Readme 
SDK to operate the Thorlabs CHROLIS 6-Wavelength High-Power LED source from user applications.

Note:
This software may needs additional software packages to be installed for printing purposes:
	- Adobe Reader (http://www.adobe.com/reader) 

License:
This software is copyright Ó 2019 - 2022, Thorlabs GmbH. For license details please see file License.rtf.

Supported platforms:
This software was verified with the following platforms:
	- Windows 8.1 (32-bit version)
	- Windows 8.1 x64 Edition (64-bit version)
	- Windows 10 (32-bit version)
	- Windows 10 x64 Edition (64-bit version)

Change log:
V1.1.18	Feb-01-2020
•	Initial Release

V2.1.21	Feb-16-2022
•	Manual update includes "Write Your Own Application" instructions.

V3.0	Jul-29-2022
•	Bugfix: Switch on/off of the LEDs fails under some circumstances.
•	Bugfix: USB enabled before CHROLIS system initialization completed. Could result in user interface connection errors.
•	Introduced Round Robin Feature